## _Index
SPUR Combined Model v8 (Models 1–4 + figure data)
MODEL 2: Project-Level DCF (Developer IRR)
Inputs | Global scenario levers (queue wait, ITC, credit type) + shared parameters
Configurations | Per-configuration CAPEX, CF, degradation, operating life (Solar/Wind/Geo)
Capitalization | Tax equity / debt / developer equity sizing: 6 columns (Base+Coloc × 3 configs)
SolarBase | Solar+BESS 100MW cash flow waterfall: project idle during queue wait
SolarColoc | Solar+BESS 100MW cash flow waterfall: BTM sales during queue wait
WindBase | Wind+BESS 150MW cash flow waterfall: project idle during queue wait
WindColoc | Wind+BESS 150MW cash flow waterfall: BTM sales during queue wait
GeoBase | Geothermal+BESS 100MW cash flow waterfall: project idle during queue wait
GeoColoc | Geothermal+BESS 100MW cash flow waterfall: BTM sales during queue wait
Results | Live IRR/NPV/Value Bridge + Queue×ITC sweep tables (all 3 configs)
MODEL 3: Data Center Electricity Cost (H2 Test)
M3_Inputs | DC load, generation supply, sourced & placeholder prices
M3_Coverage | Energy-balance coverage ratio by configuration
M3_StructA_B | Structure A (utility tariff) & Structure B (sleeved grid PPA) all-in cost
M3_StructC | Structure C (BTM co-location) Phase 1 & Phase 2 all-in cost
M3_Results | Cost comparison + H2 savings test (20-35% threshold)
MODEL 1: Electricity Price Benchmark (Stage 1)
M1_Inputs | All DMM-sourced data points (annual, quarterly, hourly, GHG) with URL citations
M1_Benchmarks | Derivation of P_low / P_avg / P_high from DMM hourly & annual statistics
M1_Scenarios | 3×3 matrix (load × carbon) = 9 price scenarios; spot-to-PPA bridge; solar capture caveat
M1_Notes | Methodology: why DMM instead of raw OASIS, binning proxy, limitations, replication path
MODEL 4: Bilateral BTM PPA Pricing (Negotiation Zone)
M4_LCOE | LCOE per configuration (gross & net of tax equity): the developer's price floor
M4_Bounds | Floor vs three ceilings (all-in / energy-only / spot+wires); zone width; viability tests
M4_Pricing | Three price-setting methods; α lever; two-sided test; analytical mutually-acceptable range
M4_Notes | Methodology, findings (incl. $60 < LCOE for solar/wind), open loop-closure items
FIGURES
Fig2_Breakeven | Levered IRR vs queue wait, 6 panels (lever × config); static sweep values
Fig3_Zone | Price floor / ceiling / acceptable range stacked bar; linked to M4
Fig4_Alpha | IRR and DC saving vs bargaining share α, 3 panels; static sweep values

## M1_Inputs
Model 1 inputs: CAISO DMM published statistics
SEC 1: ANNUAL LOAD-WEIGHTED AVERAGE PRICES (California region)
Parameter | Value | Unit | Year | Source
CA region day-ahead market avg price | 41 | $/MWh | 2024 | CAISO DMM 2024 Annual Report (Aug 7, 2025), Executive Summary p.3. https://www.caiso.com/documents/2024-annual-report-on-market-issues-and-performance-aug-07-2025.pdf
CA region 15-min market avg price | 41.1 | $/MWh | 2024 | CAISO DMM 2024 Annual Report, Figure E.2. https://www.caiso.com/documents/2024-annual-report-on-market-issues-and-performance-aug-07-2025.pdf
CA region day-ahead market avg price | 39 | $/MWh | 2025 | CAISO DMM 2025 Annual Report (Jun 26, 2026), Executive Summary p.3. https://www.caiso.com/documents/2025-annual-report-on-market-issues-and-performance.pdf
CA region 15-min market avg price | 38.32 | $/MWh | 2025 | CAISO DMM 2025 Annual Report, Figure E.2. https://www.caiso.com/documents/2025-annual-report-on-market-issues-and-performance.pdf
CAISO total wholesale cost per MWh of load | 42 | $/MWh | 2025 | CAISO DMM 2025 Annual Report, p.4. https://www.caiso.com/documents/2025-annual-report-on-market-issues-and-performance.pdf
Implied 2023 CA DA avg (back-calc from -36% YoY) | 64.2188 | $/MWh | 2023 | Calculated: B7 / (1 - 36%). 36% decline vs 2023 from CAISO DMM 2024 Annual Report, Figure E.2. https://www.caiso.com/documents/2024-annual-report-on-market-issues-and-performance-aug-07-2025.pdf
SEC 2: QUARTERLY PRICES (CAISO balancing area)
Parameter | Value | Unit | Year | Source
Q1 2024 avg (DA/15-min/5-min blended) | 43 | $/MWh | 2024 Q1 | CAISO DMM Q1 2024 Report (Oct 11, 2024). https://www.caiso.com/documents/2024-first-quarter-report-on-market-issues-and-performance-oct-11-2024.pdf
Q2 2024 avg (15-min, WEIM-wide) | 19 | $/MWh | 2024 Q2 | CAISO DMM Q2 2024 Report (Nov 22, 2024). https://www.caiso.com/documents/2024-second-quarter-report-on-market-issues-and-performance-nov-22-2024.pdf
Q3 2024 CAISO day-ahead avg | 48 | $/MWh | 2024 Q3 | CAISO DMM Q3 2024 Report (Dec 23, 2024), Sec. 3.3 p.27. https://www.caiso.com/documents/2024-third-quarter-report-on-market-issues-and-performance-dec-23-2024.pdf
Q3 2024 CA region 15-min avg | 47.5 | $/MWh | 2024 Q3 | CAISO DMM Q3 2024 Report, Figure E.1. https://www.caiso.com/documents/2024-third-quarter-report-on-market-issues-and-performance-dec-23-2024.pdf
Q3 2024 July monthly DA peak-hours avg | 58 | $/MWh | 2024 Jul | CAISO DMM Q3 2024 Report, Figure 3.12 (peak hours HE7-22). https://www.caiso.com/documents/2024-third-quarter-report-on-market-issues-and-performance-dec-23-2024.pdf
Q4 2025 WEIM 15-min avg | 36 | $/MWh | 2025 Q4 | CAISO DMM Q4 2025 Report (Mar 30, 2026). https://www.caiso.com/documents/2025-fourth-quarter-report-on-market-issues-and-performance.pdf
SEC 3: HOURLY 15-MIN MARKET PRICES, Q3 2024 (Jul-Sep), CAISO DLAPs
Source: CAISO DMM Q3 2024 Report, Table 3.3, p.26 (load-weighted hourly averages at PG&E and SCE DLAPs). https://www.caiso.com/documents/2024-third-quarter-report-on-market-issues-and-performance-dec-23-2024.pdf
Hour Ending | PG&E DLAP ($/MWh) | SCE DLAP ($/MWh) | Blend ($/MWh) | Net-load regime
1 | 40 | 40 | 40 | Overnight
2 | 38 | 38 | 38 | Overnight
3 | 36 | 36 | 36 | Overnight
4 | 35 | 35 | 35 | Overnight
5 | 35 | 35 | 35 | Overnight
6 | 39 | 38 | 38.5 | Overnight
7 | 40 | 40 | 40 | Overnight
8 | 32 | 30 | 31 | Morning ramp
9 | 27 | 21 | 24 | Mid-day solar
10 | 26 | 19 | 22.5 | Mid-day solar
11 | 25 | 20 | 22.5 | Mid-day solar
12 | 27 | 21 | 24 | Mid-day solar
13 | 27 | 23 | 25 | Mid-day solar
14 | 29 | 24 | 26.5 | Mid-day solar
15 | 31 | 27 | 29 | Mid-day solar
16 | 40 | 33 | 36.5 | Evening ramp
17 | 45 | 36 | 40.5 | Evening ramp
18 | 60 | 48 | 54 | Evening ramp
19 | 91 | 77 | 84 | Evening peak
20 | 119 | 104 | 111.5 | Evening peak
21 | 75 | 65 | 70 | Evening peak
22 | 56 | 53 | 54.5 | Late evening
23 | 46 | 45 | 45.5 | Late evening
24 | 42 | 42 | 42 | Late evening
SEC 4: GREENHOUSE GAS PRICE & IMPLIED MARGINAL EMISSION RATE
Parameter | Value | Unit | Year | Source
CA GHG allowance price (bilateral avg) | 38.09 | $/mtCO2e | 2024 | CAISO DMM 2024 Annual Report, p.2. https://www.caiso.com/documents/2024-annual-report-on-market-issues-and-performance-aug-07-2025.pdf
GHG cost impact on efficient gas unit | 16.19 | $/MWh | 2024 | CAISO DMM 2024 Annual Report, p.2. https://www.caiso.com/documents/2024-annual-report-on-market-issues-and-performance-aug-07-2025.pdf
CA GHG allowance price (bilateral avg) | 29.89 | $/mtCO2e | 2025 | CAISO DMM 2025 Annual Report, p.2. https://www.caiso.com/documents/2025-annual-report-on-market-issues-and-performance.pdf
GHG cost impact on efficient gas unit | 12.7 | $/MWh | 2025 | CAISO DMM 2025 Annual Report, p.2. https://www.caiso.com/documents/2025-annual-report-on-market-issues-and-performance.pdf
Implied marginal emission rate (2024) | 0.42505 | tCO2e/MWh | 2024 | Calculated: B53 / B52
Implied marginal emission rate (2025) | 0.42489 | tCO2e/MWh | 2025 | Calculated: B55 / B54
Marginal emission rate: model input | 0.42497 | tCO2e/MWh | avg | Average of 2024 and 2025
SEC 5: PRICE DISTRIBUTION (tail behavior)
Parameter | Value | Unit | Year | Source
Hours with negative DA price (SP15) | 1180 | hours/yr | 2024 | Resurety, "Negative Prices in CAISO" (May 2025). https://resurety.com/article-negative-prices-in-caiso/
Share of hours negative | 13.47% | frac | 2024 | Calculated: B62 / 8760
Median negative price (SP15) | -17 | $/MWh | 2024 | Resurety, "Negative Prices in CAISO" (May 2025). https://resurety.com/article-negative-prices-in-caiso/
Solar capture rate SP15 | 30% | frac of ATC | 2024 | Resurety, "Negative Prices in CAISO" (May 2025), SP15. https://resurety.com/article-negative-prices-in-caiso/
DA intervals with price > $250/MWh | 0.6% | frac | 2024 Q3 | CAISO DMM Q3 2024 Report, Sec. 3.5 p.33. https://www.caiso.com/documents/2024-third-quarter-report-on-market-issues-and-performance-dec-23-2024.pdf
Max DA (IFM) price observed | 637 | $/MWh | 2024 Sep 5 | CAISO Summer Market Performance Report, September 2024 (Oct 31, 2024). https://www.caiso.com/documents/summer-market-performance-report-september-2024.pdf
HE20 DA load-weighted avg (Q3 2024) | 120 | $/MWh | 2024 Q3 | CAISO DMM Q3 2024 Report, Sec. 3.3 p.29. https://www.caiso.com/documents/2024-third-quarter-report-on-market-issues-and-performance-dec-23-2024.pdf

## M1_Benchmarks
Model 1: Load-level price benchmarks
SEC 1: HOUR-BIN DEFINITIONS
Benchmark | Framework definition | DMM proxy (Q3 2024 Table 3.3 hours) | Hours in bin | Rationale
LOW | Bottom 20th pctile system load; spring shoulder, mild weather, high solar | HE10–HE13 (mid-day solar trough) | 10,11,12,13 | Framework text describes high-solar hours, i.e. low NET load. Mid-day trough is the empirical minimum in DMM Table 3.3 and the regime where solar/wind projects would actually be selling. Overnight hours (HE1-7, ~$35-40) are low GROSS load but not the framework's intent.
AVERAGE | 30th–70th pctile system load; typical demand, moderate weather | Annual load-weighted DA average (2024 & 2025) | all 8,760 | Load-weighted annual mean already integrates the full distribution; DMM publishes this directly. Two-year average dampens single-year gas-price idiosyncrasy (2024 unusually low gas).
HIGH | Top 10th pctile system load; summer peak, extreme heat, evening ramp | HE19–HE21 (evening net-load peak) | 19,20,21 | DMM Q3 2024 confirms 'prices peaked at HE20 when demand was still high but solar substantially below its peak'. Summer evening ramp is top-decile net load. Excludes extreme scarcity tail (>$250, only 0.6% of Q3 intervals).
SEC 2: LOW BENCHMARK (mid-day solar trough)
PG&E DLAP, HE10–13 avg | 26.25 | $/MWh
SCE DLAP, HE10–13 avg | 20.75 | $/MWh
Blended (equal weight PG&E/SCE) | 23.5 | $/MWh
Cross-check: Q2 2024 WEIM 15-min avg | 43 | $/MWh
Cross-check: framework prior range | 15 – 30 | $/MWh
LOW BENCHMARK (P_low) | 24 | $/MWh
SEC 3: AVERAGE BENCHMARK (annual load-weighted DA)
2024 CA DA avg | 41 | $/MWh
2025 CA DA avg | 39 | $/MWh
2-year average | 40 | $/MWh
Cross-check: 2023 implied (high gas year) | 64.2188 | $/MWh
Cross-check: framework prior range | 35 – 55 | $/MWh
AVERAGE BENCHMARK (P_avg) | 40 | $/MWh
SEC 4: HIGH BENCHMARK (summer evening net-load peak)
PG&E DLAP, HE19–21 avg | 95 | $/MWh
SCE DLAP, HE19–21 avg | 82 | $/MWh
Blended (equal weight PG&E/SCE) | 88.5 | $/MWh
Cross-check: HE20 DA load-weighted (Q3 2024) | 120 | $/MWh
Cross-check: framework prior range | 60 – 120 | $/MWh
HIGH BENCHMARK (P_high) | 89 | $/MWh
SEC 5: SUMMARY
Benchmark | $/MWh | vs. P_avg | Framework range | Inside range?
P_low | 24 | -40% | $15–$30 | YES
P_avg | 40 | 0% | $35–$55 | YES
P_high | 89 | 122.5% | $60–$120 | YES

## M1_Scenarios
Model 1: Price scenarios (load level x carbon price)
SEC 1: CARBON OVERLAY PARAMETERS
Marginal emission rate (DMM-implied, efficient CCGT) | 0.42497 | tCO2e/MWh
Already-embedded CA carbon cost (2025 avg) | 29.89 | $/tCO2e
Carbon scenario | Incremental $/tCO2e | Adder $/MWh | Framework rationale
C0: status quo | 0 | 0 | Current CA cap-and-trade only (already in observed prices)
C30: moderate | 30 | 12.7491 | Framework Sec 1.2: cap-and-trade escalation or federal carbon tax
C60: aggressive | 60 | 25.4981 | Framework Sec 1.2: aggressive decarbonization / high SCC
SEC 2: NINE-SCENARIO PRICE MATRIX ($/MWh)
Load level / Carbon | C0: status quo | C30: moderate | C60: aggressive
LOW (mid-day solar trough) | 24 | 36.7491 | 49.4981
AVERAGE (annual load-wtd) | 40 | 52.7491 | 65.4981
HIGH (evening net-load peak) | 89 | 101.7491 | 114.4981
SEC 3: SPOT-TO-PPA BRIDGE
Model 2 grid PPA price (LBNL hybrid PPA) | 72 | $/MWh | LBNL Utility-Scale Solar 2024 Ed., solar+storage PPA levels. https://emp.lbl.gov/utility-scale-solar
P_avg spot benchmark (this model) | 40 | $/MWh
Implied PPA premium over spot | 32 | $/MWh
Implied PPA premium (%) | 80% | frac
Which price feeds Model 2 grid revenue?
Option A: keep $72 PPA (current v7) | 72 | $/MWh
Option B: merchant at P_avg | 40 | $/MWh
Option C: merchant at P_high (peak-shaped) | 89 | $/MWh
SEC 4: SOLAR CAPTURE RATE
SP15 solar capture rate (2024) | 30% | frac of ATC
Solar-weighted realized spot (P_avg × capture) | 12 | $/MWh

## M1_Notes
Model 1: Methodology Notes and Deviation from Original Stage 1 Specification
§1 What the proposal specified
Revised Proposal (May 2026), Stage 1: download CAISO OASIS day-ahead hourly LMP for 2023–2025 at TH_SP15/TH_NP15, bin each hour by concurrent system load percentile (bottom 20% / 30–70% / top 10%), compute load-weighted average LMP per bin, then overlay three carbon prices. Output: 9 benchmark prices.
§2 What was actually done, and why
Benchmarks are constructed from CAISO Department of Market Monitoring (DMM) published statistics: the 2024 and 2025 Annual Reports and the 2024 Q1–Q3 and 2025 Q4 quarterly reports: rather than from raw OASIS hourly downloads. Reasons: (a) DMM figures are official, load-weighted, and independently computed by CAISO's market monitor, which is a stronger provenance for a citable benchmark than a student-processed OASIS extract; (b) DMM publishes exactly the aggregates the framework needs (annual load-weighted DA mean, hourly load-weighted 15-min profile, GHG cost per MWh); (c) raw OASIS processing was deferred to preserve time for Models 2–4, which are the analytical core. The raw-OASIS path remains available as a robustness check (see §6).
§3 Binning: load percentile vs. hour-of-day proxy
The framework bins by system-load percentile. DMM does not publish load-percentile-binned prices, so this model uses hour-of-day regimes from DMM Q3 2024 Table 3.3 as the proxy. The framework's own descriptions: LOW = 'spring shoulder, high solar output hours'; HIGH = 'summer peak, evening ramp': are net-load concepts, and net load in CAISO is a function of hour-of-day far more than of gross load. Mid-day solar trough (HE10–13) is the empirical minimum in the DMM table; evening ramp (HE19–21) is the empirical maximum. The mapping is therefore faithful to the framework's economic intent, but it is a judgment call and should be stated as such in the paper.
§4 Known limitations
(a) Hourly profile is Q3 2024 only. Q3 has the deepest mid-day depression and the highest evening peak, so P_low is a conservative low and P_high is a conservative high relative to a full-year hourly average. P_avg is unaffected (annual figure). (b) 15-minute market hourly averages are used for the hourly profile because DMM publishes that table; DA and 15-min converge on average (DMM Q3 2024 §3.3: 'typically tend to converge on average due to convergence bidding'), so the substitution is minor. (c) PG&E and SCE DLAPs are blended equally; a project-specific run should weight by actual node (Salton Sea geothermal and Tehachapi wind are SP15/SCE-side; solar 'various'). (d) 2023 is excluded from P_avg because DMM documents 2023 as a gas-price anomaly (SoCal Citygate $5.12 vs $2.14/MMBtu); it is retained as an explicit high-price sensitivity.
§5 Carbon overlay
Adders are computed as incremental $/tCO2e × marginal emission rate. The emission rate (0.425 tCO2e/MWh) is not assumed: it is back-calculated from DMM's own statement of the GHG cost impact on 'a relatively efficient gas unit' in both 2024 ($16.19/MWh ÷ $38.09/t) and 2025 ($12.70/MWh ÷ $29.89/t), which agree to three decimals. This pins the framework's 0.4–0.6 range to its lower bound. Adders are incremental to the CA cap-and-trade cost already embedded in observed prices; the C0 scenario is the observed price, not a carbon-free counterfactual.
§6 Path to full OASIS replication (if time permits)
Use the gridstatus Python library: caiso.get_lmp(start='2023-01-01', end='2025-12-31', market='DAY_AHEAD_HOURLY', locations=['TH_SP15_GEN-APND','TH_NP15_GEN-APND']) and caiso.get_load(...). Merge on timestamp, compute load percentile per hour, groupby bin, load-weighted mean. Expected result: P_low and P_high move modestly toward P_avg (full-year vs Q3-only); P_avg unchanged. If replicated, report both and use OASIS as primary with DMM as the published-source cross-check.
§7 How Model 1 feeds the other models
→ Model 2 (DCF): the grid PPA price stays at $72/MWh (LBNL contracted hybrid PPA) for the base case; P_avg and P_high are sensitivity inputs for merchant-exposure cases. See M1_Scenarios SEC 3 for the reconciliation. → Model 3 (DC cost): Structure B 'PPA energy price' placeholder ($70) can be replaced by the Model 2 PPA link; P_avg is the VPPA settlement reference. → Model 4 (BTM pricing): P_avg + T&D stack (from Model 3 Structure B) forms the grid-alternative ceiling; the carbon scenarios shift the ceiling upward, widening the negotiation zone.

## Inputs
Model 2 inputs ($mm unless noted)
SCENARIO LEVERS (GLOBAL)
Grid connection delay, years (lag between when the project could be placed in service and grid COD) | 4 | Scenario values 2/4/6/8. LBNL Queued Up 2025 reports IR-to-COD duration: https://emp.lbl.gov/queues
ITC rate | 30% | 0% = OBBBA Scenario D (zero credit under either credit type); 30% = full rate w/ PWA
Credit type (1=ITC, 2=PTC) | 1 | Framework 2.3.5: run both; PTC uses full depreciable basis
SHARED PARAMETERS
PTC rate ($/MWh, full rate w/ PWA) | 15 | $0.015/kWh, 10-yr duration (Framework 2.3.4; inflation adjustment omitted)
BESS delivery loss (RTE approx.) | 1% | Annual approximation of round-trip losses
Debt interest rate | 5.5% | Framework 2.3.1: 5-7% range
Debt tenor (years) | 20 | Framework 2.3.1
Target DSCR (debt sizing) | 1.35 | Framework 2.7
Max leverage (% of total capital) | 55% | Framework 2.3.1: 50-55%; binds when DSCR-sized debt exceeds it (wind, geothermal)
Combined tax rate (fed + CA) | 29.84% | 21% federal + 8.84% CA
Tax equity pay rate (per $ benefit PV) | 80% | TE pays ~80c per $1 PV of ITC + PTC + MACRS shield
MACRS PV discount rate | 7% | Assumption
Grid hybrid PPA price ($/MWh) | 72 | LBNL Utility-Scale Solar (hybrid PPA levels): https://emp.lbl.gov/utility-scale-solar
BTM PPA price ($/MWh) | 60 | ~17% discount, within 10-20% industry range (Framework 4.3)
Asset management (% of revenue) | 1.5% | Framework 2.6
Construction years | 2 | Framework 2.1
Flip year (calendar) | 6 | Framework 2.8.2 default (2.8.4 illustrative table uses 7)
Buyout at flip ($mm) | 1 | Nominal
NPV discount rate | 8% | Framework 2.9.3: 8% WACC
Developer cash share, pre-flip | 70% | Framework 2.8.2
Developer cash share, post-flip | 97.5% | Framework 2.8.2
BTM price source (1 = global B19, 2 = Model 4 per-config) | 2
BASELINE SPECIFICATION
Baseline (1 = built, then idle until COD; 2 = construction deferred) | 2 | 2 = developer waits for the grid connection before building (Draft 2, Sec. 2.1). 1 reproduces the Draft 1 baseline.
Baseline idle years after construction | 0
Baseline construction deferral, years | 4 | Baseline NPV is discounted back by this many years, so both scenarios are valued at the same date.

## Configurations
Configurations
Parameter | Solar+BESS 100MW | Wind+BESS 150MW | Geothermal+BESS 100MW | Source / note
Capacity (MW) | 100 | 150 | 100 | Solar/Geothermal: Framework 2.2.1. Wind: 150 MW scale variant
Capacity factor | 27.5% | 35% | 90% | Solar: CA midpoint. Wind: upper Tehachapi 30-35%. Geothermal: 90%+ Salton Sea/Imperial Valley (NREL ATB 2024: https://atb.nrel.gov/electricity/2024/technologies)
Annual degradation | 0.5% | 0.2% | 0% | Framework 2.5.2 (geothermal ~0%)
Availability | 98% | 96% | 95% | Framework 2.5.2
Electrical losses | 2.5% | 2.5% | 2.5% | Framework 2.5.2
Total CAPEX ($mm) | 197 | 321.4 | 568.25 | Solar: Framework 2.2.3. Wind: $1,350/kW x150 + BESS 75MW/300MWh @$1,250/kW + dev 4% + land + intercon. Geothermal: $5,000/kW x100 + BESS 25MW/50MWh + dev 4% + land + intercon (NREL ATB 2024 midpoints)
Qualified investment ($mm) | 180 | 296.25 | 531.25 | Generation + BESS only (Framework 2.2.4)
Microgrid CAPEX ($mm) | 12 | 18 | 12 | $120/kW midpoint of $50-150/kW x capacity
Fixed O&M, gen + BESS ($mm/yr) | 3 | 6.375 | 4.625 | Framework 2.6 midpoints per configuration
Land lease + insurance ($mm/yr) | 1.088 | 1.586 | 2.573 | $0.3mm land + 0.4% of CAPEX insurance
Microgrid O&M ($mm/yr) | 0.75 | 1.125 | 0.75 | $7.5/kW-yr x capacity
Operating life (years) | 25 | 25 | 30 | Framework 2.1: 25 yrs solar/wind, 30 yrs geothermal
BTM PPA price, effective ($/MWh) | 121.2562 | 116.3537 | 108.9349 | Inputs!B27 switch: 1 = Inputs!B19, 2 = M4_Pricing row 19
BTM PPA price at v7 default ($/MWh) | 60 | 60 | 60 | Inputs!B19

## Capitalization
Capitalization ($mm)
| Solar Base | Solar Coloc | Wind Base | Wind Coloc | Geo Base | Geo Coloc
Total capital required ($mm) | 197 | 209 | 321.4 | 339.4 | 568.25 | 580.25
First grid-year net energy (MWh) | 230179.95 | 230179.95 | 430466.4 | 430466.4 | 730255.5 | 730255.5
First grid-year revenue ($mm) | 16.573 | 16.573 | 30.9936 | 30.9936 | 52.5784 | 52.5784
First grid-year OPEX ($mm) | 4.3366 | 5.0866 | 8.4259 | 9.5509 | 7.9867 | 8.7367
First grid-year EBITDA ($mm) | 12.2364 | 11.4864 | 22.5677 | 21.4427 | 44.5917 | 43.8417
Max debt service @ DSCR ($mm/yr) | 9.064 | 8.5084 | 16.7168 | 15.8835 | 33.0309 | 32.4753
DSCR-sized debt ($mm) | 108.3179 | 101.6788 | 199.7721 | 189.8135 | 394.7319 | 388.0928
Senior debt after leverage cap ($mm) | 108.3179 | 101.6788 | 176.77 | 186.67 | 312.5375 | 319.1375
Actual debt service ($mm/yr) | 9.064 | 8.5084 | 14.792 | 15.6204 | 26.1529 | 26.7052
ITC amount ($mm) | 54 | 54 | 88.875 | 88.875 | 159.375 | 159.375
PTC start year (calendar) | 3 | 3 | 3 | 3 | 3 | 3
PTC stream PV ($mm) | 0 | 0 | 0 | 0 | 0 | 0
Depreciable basis ($mm) | 153 | 153 | 251.8125 | 251.8125 | 451.5625 | 451.5625
MACRS shield PV ($mm) | 37.9645 | 37.9645 | 62.4832 | 62.4832 | 112.048 | 112.048
Tax equity contribution ($mm) | 73.5716 | 73.5716 | 121.0866 | 121.0866 | 217.1384 | 217.1384
Developer equity ($mm) | 15.1105 | 33.7496 | 23.5434 | 31.6434 | 38.5741 | 43.9741
PTC start: baseline at COD; co-location at mechanical completion (BTM operation assumed to count as placed in service).
MACRS 5-yr schedule (Framework 2.3.3)
Year 1 | 20%
Year 2 | 32%
Year 3 | 19.2%
Year 4 | 11.52%
Year 5 | 11.52%
Year 6 | 5.76%

## SolarBase
SolarBase: annual cash flow waterfall ($mm)
Developer levered IRR: | 12.63% | Unlevered (project) IRR: | 2.607% | NPV of dev cash @ discount rate ($mm): | 7.9836
Year | Phase | Op yr | Net energy (MWh) | Revenue | OPEX | EBITDA | Debt service | Distributable cash | Dev share | Dev cash flow | DSCR | Project CF (unlevered)
0 | Equity |  | 0 | 0 | 0 | 0 | 0 | 0 |  | -15.1105 |  | -197
1 | Construction |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0
2 | Construction |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0
3 | Grid ops | 0 | 230179.95 | 16.573 | 4.3366 | 12.2364 | 9.064 | 3.1724 | 70% | 2.2207 | 1.35 | 12.2364
4 | Grid ops | 1 | 229029.0503 | 16.4901 | 4.3354 | 12.1547 | 9.064 | 3.0908 | 70% | 2.1635 | 1.341 | 12.1547
5 | Grid ops | 2 | 227883.905 | 16.4076 | 4.3341 | 12.0735 | 9.064 | 3.0096 | 70% | 2.1067 | 1.332 | 12.0735
6 | Grid ops | 3 | 226744.4855 | 16.3256 | 4.3329 | 11.9927 | 9.064 | 2.9287 | 70% | 1.0501 | 1.3231 | 11.9927
7 | Grid ops | 4 | 225610.763 | 16.244 | 4.3317 | 11.9123 | 9.064 | 2.8483 | 97.5% | 2.7771 | 1.3142 | 11.9123
8 | Grid ops | 5 | 224482.7092 | 16.1628 | 4.3304 | 11.8323 | 9.064 | 2.7683 | 97.5% | 2.6991 | 1.3054 | 11.8323
9 | Grid ops | 6 | 223360.2957 | 16.0819 | 4.3292 | 11.7527 | 9.064 | 2.6887 | 97.5% | 2.6215 | 1.2966 | 11.7527
10 | Grid ops | 7 | 222243.4942 | 16.0015 | 4.328 | 11.6735 | 9.064 | 2.6095 | 97.5% | 2.5443 | 1.2879 | 11.6735
11 | Grid ops | 8 | 221132.2767 | 15.9215 | 4.3268 | 11.5947 | 9.064 | 2.5307 | 97.5% | 2.4675 | 1.2792 | 11.5947
12 | Grid ops | 9 | 220026.6154 | 15.8419 | 4.3256 | 11.5163 | 9.064 | 2.4523 | 97.5% | 2.391 | 1.2706 | 11.5163
13 | Grid ops | 10 | 218926.4823 | 15.7627 | 4.3244 | 11.4383 | 9.064 | 2.3743 | 97.5% | 2.3149 | 1.2619 | 11.4383
14 | Grid ops | 11 | 217831.8499 | 15.6839 | 4.3233 | 11.3606 | 9.064 | 2.2967 | 97.5% | 2.2392 | 1.2534 | 11.3606
15 | Grid ops | 12 | 216742.6906 | 15.6055 | 4.3221 | 11.2834 | 9.064 | 2.2194 | 97.5% | 2.1639 | 1.2449 | 11.2834
16 | Grid ops | 13 | 215658.9772 | 15.5274 | 4.3209 | 11.2065 | 9.064 | 2.1426 | 97.5% | 2.089 | 1.2364 | 11.2065
17 | Grid ops | 14 | 214580.6823 | 15.4498 | 4.3197 | 11.1301 | 9.064 | 2.0661 | 97.5% | 2.0144 | 1.2279 | 11.1301
18 | Grid ops | 15 | 213507.7789 | 15.3726 | 4.3186 | 11.054 | 9.064 | 1.99 | 97.5% | 1.9402 | 1.2196 | 11.054
19 | Grid ops | 16 | 212440.24 | 15.2957 | 4.3174 | 10.9783 | 9.064 | 1.9143 | 97.5% | 1.8664 | 1.2112 | 10.9783
20 | Grid ops | 17 | 211378.0388 | 15.2192 | 4.3163 | 10.9029 | 9.064 | 1.839 | 97.5% | 1.793 | 1.2029 | 10.9029
21 | Grid ops | 18 | 210321.1486 | 15.1431 | 4.3151 | 10.828 | 9.064 | 1.764 | 97.5% | 1.7199 | 1.1946 | 10.828
22 | Grid ops | 19 | 209269.5428 | 15.0674 | 4.314 | 10.7534 | 9.064 | 1.6894 | 97.5% | 1.6472 | 1.1864 | 10.7534
23 | Grid ops | 20 | 208223.1951 | 14.9921 | 4.3129 | 10.6792 | 0 | 10.6792 | 97.5% | 10.4122 |  | 10.6792
24 | Grid ops | 21 | 207182.0791 | 14.9171 | 4.3118 | 10.6054 | 0 | 10.6054 | 97.5% | 10.3402 |  | 10.6054
25 | Grid ops | 22 | 206146.1687 | 14.8425 | 4.3106 | 10.5319 | 0 | 10.5319 | 97.5% | 10.2686 |  | 10.5319
26 | Grid ops | 23 | 205115.4379 | 14.7683 | 4.3095 | 10.4588 | 0 | 10.4588 | 97.5% | 10.1973 |  | 10.4588
27 | Grid ops | 24 | 204089.8607 | 14.6945 | 4.3084 | 10.3861 | 0 | 10.3861 | 97.5% | 10.1264 |  | 10.3861
28 |  | 25 | 0 | 0 | 0 | 0 | 0 | 0 | 97.5% | 0 |  | 0
29 |  | 26 | 0 | 0 | 0 | 0 | 0 | 0 | 97.5% | 0 |  | 0
30 |  | 27 | 0 | 0 | 0 | 0 | 0 | 0 | 97.5% | 0 |  | 0
31 |  | 28 | 0 | 0 | 0 | 0 | 0 | 0 | 97.5% | 0 |  | 0
32 |  | 29 | 0 | 0 | 0 | 0 | 0 | 0 | 97.5% | 0 |  | 0

## SolarColoc
SolarColoc: annual cash flow waterfall ($mm)
Developer levered IRR: | 11.79% | Unlevered (project) IRR: | 3.164% | NPV of dev cash @ discount rate ($mm): | 11.742
Year | Phase | Op yr | Net energy (MWh) | Revenue | OPEX | EBITDA | Debt service | Distributable cash | Dev share | Dev cash flow | DSCR | Project CF (unlevered)
0 | Equity |  | 0 | 0 | 0 | 0 | 0 | 0 |  | -33.7496 |  | -209
1 | Construction |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0
2 | Construction |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0
3 | Queue wait | 0 | 230179.95 | 27.6316 | 5.2525 | 22.3792 | 8.5084 | 13.8708 | 70% | 9.7095 | 2.6302 | 22.3792
4 | Queue wait | 1 | 229029.0503 | 27.4935 | 5.2504 | 22.2431 | 8.5084 | 13.7347 | 70% | 9.6143 | 2.6142 | 22.2431
5 | Queue wait | 2 | 227883.905 | 27.356 | 5.2483 | 22.1077 | 8.5084 | 13.5993 | 70% | 9.5195 | 2.5983 | 22.1077
6 | Queue wait | 3 | 226744.4855 | 27.2192 | 5.2463 | 21.973 | 8.5084 | 13.4645 | 70% | 8.4252 | 2.5825 | 21.973
7 | Grid ops | 4 | 225610.763 | 16.244 | 5.0817 | 11.1623 | 8.5084 | 2.6539 | 97.5% | 2.5876 | 1.3119 | 11.1623
8 | Grid ops | 5 | 224482.7092 | 16.1628 | 5.0804 | 11.0823 | 8.5084 | 2.5739 | 97.5% | 2.5095 | 1.3025 | 11.0823
9 | Grid ops | 6 | 223360.2957 | 16.0819 | 5.0792 | 11.0027 | 8.5084 | 2.4943 | 97.5% | 2.4319 | 1.2932 | 11.0027
10 | Grid ops | 7 | 222243.4942 | 16.0015 | 5.078 | 10.9235 | 8.5084 | 2.4151 | 97.5% | 2.3547 | 1.2838 | 10.9235
11 | Grid ops | 8 | 221132.2767 | 15.9215 | 5.0768 | 10.8447 | 8.5084 | 2.3363 | 97.5% | 2.2779 | 1.2746 | 10.8447
12 | Grid ops | 9 | 220026.6154 | 15.8419 | 5.0756 | 10.7663 | 8.5084 | 2.2579 | 97.5% | 2.2014 | 1.2654 | 10.7663
13 | Grid ops | 10 | 218926.4823 | 15.7627 | 5.0744 | 10.6883 | 8.5084 | 2.1798 | 97.5% | 2.1254 | 1.2562 | 10.6883
14 | Grid ops | 11 | 217831.8499 | 15.6839 | 5.0733 | 10.6106 | 8.5084 | 2.1022 | 97.5% | 2.0497 | 1.2471 | 10.6106
15 | Grid ops | 12 | 216742.6906 | 15.6055 | 5.0721 | 10.5334 | 8.5084 | 2.025 | 97.5% | 1.9744 | 1.238 | 10.5334
16 | Grid ops | 13 | 215658.9772 | 15.5274 | 5.0709 | 10.4565 | 8.5084 | 1.9481 | 97.5% | 1.8994 | 1.229 | 10.4565
17 | Grid ops | 14 | 214580.6823 | 15.4498 | 5.0697 | 10.3801 | 8.5084 | 1.8716 | 97.5% | 1.8249 | 1.22 | 10.3801
18 | Grid ops | 15 | 213507.7789 | 15.3726 | 5.0686 | 10.304 | 8.5084 | 1.7956 | 97.5% | 1.7507 | 1.211 | 10.304
19 | Grid ops | 16 | 212440.24 | 15.2957 | 5.0674 | 10.2283 | 8.5084 | 1.7198 | 97.5% | 1.6768 | 1.2021 | 10.2283
20 | Grid ops | 17 | 211378.0388 | 15.2192 | 5.0663 | 10.1529 | 8.5084 | 1.6445 | 97.5% | 1.6034 | 1.1933 | 10.1529
21 | Grid ops | 18 | 210321.1486 | 15.1431 | 5.0651 | 10.078 | 8.5084 | 1.5696 | 97.5% | 1.5303 | 1.1845 | 10.078
22 | Grid ops | 19 | 209269.5428 | 15.0674 | 5.064 | 10.0034 | 8.5084 | 1.495 | 97.5% | 1.4576 | 1.1757 | 10.0034
23 | Grid ops | 20 | 208223.1951 | 14.9921 | 5.0629 | 9.9292 | 0 | 9.9292 | 97.5% | 9.681 |  | 9.9292
24 | Grid ops | 21 | 207182.0791 | 14.9171 | 5.0618 | 9.8554 | 0 | 9.8554 | 97.5% | 9.609 |  | 9.8554
25 | Grid ops | 22 | 206146.1687 | 14.8425 | 5.0606 | 9.7819 | 0 | 9.7819 | 97.5% | 9.5373 |  | 9.7819
26 | Grid ops | 23 | 205115.4379 | 14.7683 | 5.0595 | 9.7088 | 0 | 9.7088 | 97.5% | 9.4661 |  | 9.7088
27 | Grid ops | 24 | 204089.8607 | 14.6945 | 5.0584 | 9.6361 | 0 | 9.6361 | 97.5% | 9.3952 |  | 9.6361
28 |  | 25 | 0 | 0 | 0 | 0 | 0 | 0 | 97.5% | 0 |  | 0
29 |  | 26 | 0 | 0 | 0 | 0 | 0 | 0 | 97.5% | 0 |  | 0
30 |  | 27 | 0 | 0 | 0 | 0 | 0 | 0 | 97.5% | 0 |  | 0
31 |  | 28 | 0 | 0 | 0 | 0 | 0 | 0 | 97.5% | 0 |  | 0
32 |  | 29 | 0 | 0 | 0 | 0 | 0 | 0 | 97.5% | 0 |  | 0

## WindBase
WindBase: annual cash flow waterfall ($mm)
Developer levered IRR: | 18.92% | Unlevered (project) IRR: | 3.896% | NPV of dev cash @ discount rate ($mm): | 33.3488
Year | Phase | Op yr | Net energy (MWh) | Revenue | OPEX | EBITDA | Debt service | Distributable cash | Dev share | Dev cash flow | DSCR | Project CF (unlevered)
0 | Equity |  | 0 | 0 | 0 | 0 | 0 | 0 |  | -23.5434 |  | -321.4
1 | Construction |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0
2 | Construction |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0
3 | Grid ops | 0 | 430466.4 | 30.9936 | 8.4259 | 22.5677 | 14.792 | 7.7757 | 70% | 5.443 | 1.5257 | 22.5677
4 | Grid ops | 1 | 429605.4672 | 30.9316 | 8.425 | 22.5066 | 14.792 | 7.7146 | 70% | 5.4002 | 1.5215 | 22.5066
5 | Grid ops | 2 | 428746.2563 | 30.8697 | 8.424 | 22.4457 | 14.792 | 7.6537 | 70% | 5.3576 | 1.5174 | 22.4457
6 | Grid ops | 3 | 427888.7638 | 30.808 | 8.4231 | 22.3849 | 14.792 | 7.5929 | 70% | 4.315 | 1.5133 | 22.3849
7 | Grid ops | 4 | 427032.9862 | 30.7464 | 8.4222 | 22.3242 | 14.792 | 7.5322 | 97.5% | 7.3439 | 1.5092 | 22.3242
8 | Grid ops | 5 | 426178.9203 | 30.6849 | 8.4213 | 22.2636 | 14.792 | 7.4716 | 97.5% | 7.2848 | 1.5051 | 22.2636
9 | Grid ops | 6 | 425326.5624 | 30.6235 | 8.4204 | 22.2032 | 14.792 | 7.4112 | 97.5% | 7.2259 | 1.501 | 22.2032
10 | Grid ops | 7 | 424475.9093 | 30.5623 | 8.4194 | 22.1428 | 14.792 | 7.3508 | 97.5% | 7.1671 | 1.4969 | 22.1428
11 | Grid ops | 8 | 423626.9575 | 30.5011 | 8.4185 | 22.0826 | 14.792 | 7.2906 | 97.5% | 7.1084 | 1.4929 | 22.0826
12 | Grid ops | 9 | 422779.7036 | 30.4401 | 8.4176 | 22.0225 | 14.792 | 7.2305 | 97.5% | 7.0498 | 1.4888 | 22.0225
13 | Grid ops | 10 | 421934.1441 | 30.3793 | 8.4167 | 21.9626 | 14.792 | 7.1706 | 97.5% | 6.9913 | 1.4848 | 21.9626
14 | Grid ops | 11 | 421090.2759 | 30.3185 | 8.4158 | 21.9027 | 14.792 | 7.1107 | 97.5% | 6.933 | 1.4807 | 21.9027
15 | Grid ops | 12 | 420248.0953 | 30.2579 | 8.4149 | 21.843 | 14.792 | 7.051 | 97.5% | 6.8747 | 1.4767 | 21.843
16 | Grid ops | 13 | 419407.5991 | 30.1973 | 8.414 | 21.7834 | 14.792 | 6.9914 | 97.5% | 6.8166 | 1.4726 | 21.7834
17 | Grid ops | 14 | 418568.7839 | 30.137 | 8.4131 | 21.7239 | 14.792 | 6.9319 | 97.5% | 6.7586 | 1.4686 | 21.7239
18 | Grid ops | 15 | 417731.6464 | 30.0767 | 8.4122 | 21.6645 | 14.792 | 6.8725 | 97.5% | 6.7007 | 1.4646 | 21.6645
19 | Grid ops | 16 | 416896.1831 | 30.0165 | 8.4112 | 21.6053 | 14.792 | 6.8133 | 97.5% | 6.643 | 1.4606 | 21.6053
20 | Grid ops | 17 | 416062.3907 | 29.9565 | 8.4103 | 21.5461 | 14.792 | 6.7541 | 97.5% | 6.5853 | 1.4566 | 21.5461
21 | Grid ops | 18 | 415230.2659 | 29.8966 | 8.4094 | 21.4871 | 14.792 | 6.6951 | 97.5% | 6.5278 | 1.4526 | 21.4871
22 | Grid ops | 19 | 414399.8054 | 29.8368 | 8.4086 | 21.4282 | 14.792 | 6.6362 | 97.5% | 6.4703 | 1.4486 | 21.4282
23 | Grid ops | 20 | 413571.0058 | 29.7771 | 8.4077 | 21.3695 | 0 | 21.3695 | 97.5% | 20.8352 |  | 21.3695
24 | Grid ops | 21 | 412743.8638 | 29.7176 | 8.4068 | 21.3108 | 0 | 21.3108 | 97.5% | 20.778 |  | 21.3108
25 | Grid ops | 22 | 411918.376 | 29.6581 | 8.4059 | 21.2523 | 0 | 21.2523 | 97.5% | 20.7209 |  | 21.2523
26 | Grid ops | 23 | 411094.5393 | 29.5988 | 8.405 | 21.1938 | 0 | 21.1938 | 97.5% | 20.664 |  | 21.1938
27 | Grid ops | 24 | 410272.3502 | 29.5396 | 8.4041 | 21.1355 | 0 | 21.1355 | 97.5% | 20.6071 |  | 21.1355
28 |  | 25 | 0 | 0 | 0 | 0 | 0 | 0 | 97.5% | 0 |  | 0
29 |  | 26 | 0 | 0 | 0 | 0 | 0 | 0 | 97.5% | 0 |  | 0
30 |  | 27 | 0 | 0 | 0 | 0 | 0 | 0 | 97.5% | 0 |  | 0
31 |  | 28 | 0 | 0 | 0 | 0 | 0 | 0 | 97.5% | 0 |  | 0
32 |  | 29 | 0 | 0 | 0 | 0 | 0 | 0 | 97.5% | 0 |  | 0

## WindColoc
WindColoc: annual cash flow waterfall ($mm)
Developer levered IRR: | 24.44% | Unlevered (project) IRR: | 4.604% | NPV of dev cash @ discount rate ($mm): | 58.258
Year | Phase | Op yr | Net energy (MWh) | Revenue | OPEX | EBITDA | Debt service | Distributable cash | Dev share | Dev cash flow | DSCR | Project CF (unlevered)
0 | Equity |  | 0 | 0 | 0 | 0 | 0 | 0 |  | -31.6434 |  | -339.4
1 | Construction |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0
2 | Construction |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0
3 | Queue wait | 0 | 430466.4 | 49.5855 | 9.8298 | 39.7557 | 15.6204 | 24.1353 | 70% | 16.8947 | 2.5451 | 39.7557
4 | Queue wait | 1 | 429605.4672 | 49.4863 | 9.8283 | 39.658 | 15.6204 | 24.0376 | 70% | 16.8263 | 2.5389 | 39.658
5 | Queue wait | 2 | 428746.2563 | 49.3874 | 9.8268 | 39.5606 | 15.6204 | 23.9401 | 70% | 16.7581 | 2.5326 | 39.5606
6 | Queue wait | 3 | 427888.7638 | 49.2886 | 9.8253 | 39.4633 | 15.6204 | 23.8428 | 70% | 15.69 | 2.5264 | 39.4633
7 | Grid ops | 4 | 427032.9862 | 30.7464 | 9.5472 | 21.1992 | 15.6204 | 5.5788 | 97.5% | 5.4393 | 1.3571 | 21.1992
8 | Grid ops | 5 | 426178.9203 | 30.6849 | 9.5463 | 21.1386 | 15.6204 | 5.5182 | 97.5% | 5.3802 | 1.3533 | 21.1386
9 | Grid ops | 6 | 425326.5624 | 30.6235 | 9.5454 | 21.0782 | 15.6204 | 5.4577 | 97.5% | 5.3213 | 1.3494 | 21.0782
10 | Grid ops | 7 | 424475.9093 | 30.5623 | 9.5444 | 21.0178 | 15.6204 | 5.3974 | 97.5% | 5.2625 | 1.3455 | 21.0178
11 | Grid ops | 8 | 423626.9575 | 30.5011 | 9.5435 | 20.9576 | 15.6204 | 5.3372 | 97.5% | 5.2038 | 1.3417 | 20.9576
12 | Grid ops | 9 | 422779.7036 | 30.4401 | 9.5426 | 20.8975 | 15.6204 | 5.2771 | 97.5% | 5.1452 | 1.3378 | 20.8975
13 | Grid ops | 10 | 421934.1441 | 30.3793 | 9.5417 | 20.8376 | 15.6204 | 5.2171 | 97.5% | 5.0867 | 1.334 | 20.8376
14 | Grid ops | 11 | 421090.2759 | 30.3185 | 9.5408 | 20.7777 | 15.6204 | 5.1573 | 97.5% | 5.0284 | 1.3302 | 20.7777
15 | Grid ops | 12 | 420248.0953 | 30.2579 | 9.5399 | 20.718 | 15.6204 | 5.0976 | 97.5% | 4.9701 | 1.3263 | 20.718
16 | Grid ops | 13 | 419407.5991 | 30.1973 | 9.539 | 20.6584 | 15.6204 | 5.038 | 97.5% | 4.912 | 1.3225 | 20.6584
17 | Grid ops | 14 | 418568.7839 | 30.137 | 9.5381 | 20.5989 | 15.6204 | 4.9785 | 97.5% | 4.854 | 1.3187 | 20.5989
18 | Grid ops | 15 | 417731.6464 | 30.0767 | 9.5372 | 20.5395 | 15.6204 | 4.9191 | 97.5% | 4.7961 | 1.3149 | 20.5395
19 | Grid ops | 16 | 416896.1831 | 30.0165 | 9.5362 | 20.4803 | 15.6204 | 4.8599 | 97.5% | 4.7384 | 1.3111 | 20.4803
20 | Grid ops | 17 | 416062.3907 | 29.9565 | 9.5353 | 20.4211 | 15.6204 | 4.8007 | 97.5% | 4.6807 | 1.3073 | 20.4211
21 | Grid ops | 18 | 415230.2659 | 29.8966 | 9.5344 | 20.3621 | 15.6204 | 4.7417 | 97.5% | 4.6232 | 1.3036 | 20.3621
22 | Grid ops | 19 | 414399.8054 | 29.8368 | 9.5336 | 20.3032 | 15.6204 | 4.6828 | 97.5% | 4.5657 | 1.2998 | 20.3032
23 | Grid ops | 20 | 413571.0058 | 29.7771 | 9.5327 | 20.2445 | 0 | 20.2445 | 97.5% | 19.7383 |  | 20.2445
24 | Grid ops | 21 | 412743.8638 | 29.7176 | 9.5318 | 20.1858 | 0 | 20.1858 | 97.5% | 19.6811 |  | 20.1858
25 | Grid ops | 22 | 411918.376 | 29.6581 | 9.5309 | 20.1273 | 0 | 20.1273 | 97.5% | 19.6241 |  | 20.1273
26 | Grid ops | 23 | 411094.5393 | 29.5988 | 9.53 | 20.0688 | 0 | 20.0688 | 97.5% | 19.5671 |  | 20.0688
27 | Grid ops | 24 | 410272.3502 | 29.5396 | 9.5291 | 20.0105 | 0 | 20.0105 | 97.5% | 19.5103 |  | 20.0105
28 |  | 25 | 0 | 0 | 0 | 0 | 0 | 0 | 97.5% | 0 |  | 0
29 |  | 26 | 0 | 0 | 0 | 0 | 0 | 0 | 97.5% | 0 |  | 0
30 |  | 27 | 0 | 0 | 0 | 0 | 0 | 0 | 97.5% | 0 |  | 0
31 |  | 28 | 0 | 0 | 0 | 0 | 0 | 0 | 97.5% | 0 |  | 0
32 |  | 29 | 0 | 0 | 0 | 0 | 0 | 0 | 97.5% | 0 |  | 0

## GeoBase
GeoBase: annual cash flow waterfall ($mm)
Developer levered IRR: | 25.06% | Unlevered (project) IRR: | 5.689% | NPV of dev cash @ discount rate ($mm): | 111.2737
Year | Phase | Op yr | Net energy (MWh) | Revenue | OPEX | EBITDA | Debt service | Distributable cash | Dev share | Dev cash flow | DSCR | Project CF (unlevered)
0 | Equity |  | 0 | 0 | 0 | 0 | 0 | 0 |  | -38.5741 |  | -568.25
1 | Construction |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0
2 | Construction |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0
3 | Grid ops | 0 | 730255.5 | 52.5784 | 7.9867 | 44.5917 | 26.1529 | 18.4388 | 70% | 12.9072 | 1.705 | 44.5917
4 | Grid ops | 1 | 730255.5 | 52.5784 | 7.9867 | 44.5917 | 26.1529 | 18.4388 | 70% | 12.9072 | 1.705 | 44.5917
5 | Grid ops | 2 | 730255.5 | 52.5784 | 7.9867 | 44.5917 | 26.1529 | 18.4388 | 70% | 12.9072 | 1.705 | 44.5917
6 | Grid ops | 3 | 730255.5 | 52.5784 | 7.9867 | 44.5917 | 26.1529 | 18.4388 | 70% | 11.9072 | 1.705 | 44.5917
7 | Grid ops | 4 | 730255.5 | 52.5784 | 7.9867 | 44.5917 | 26.1529 | 18.4388 | 97.5% | 17.9778 | 1.705 | 44.5917
8 | Grid ops | 5 | 730255.5 | 52.5784 | 7.9867 | 44.5917 | 26.1529 | 18.4388 | 97.5% | 17.9778 | 1.705 | 44.5917
9 | Grid ops | 6 | 730255.5 | 52.5784 | 7.9867 | 44.5917 | 26.1529 | 18.4388 | 97.5% | 17.9778 | 1.705 | 44.5917
10 | Grid ops | 7 | 730255.5 | 52.5784 | 7.9867 | 44.5917 | 26.1529 | 18.4388 | 97.5% | 17.9778 | 1.705 | 44.5917
11 | Grid ops | 8 | 730255.5 | 52.5784 | 7.9867 | 44.5917 | 26.1529 | 18.4388 | 97.5% | 17.9778 | 1.705 | 44.5917
12 | Grid ops | 9 | 730255.5 | 52.5784 | 7.9867 | 44.5917 | 26.1529 | 18.4388 | 97.5% | 17.9778 | 1.705 | 44.5917
13 | Grid ops | 10 | 730255.5 | 52.5784 | 7.9867 | 44.5917 | 26.1529 | 18.4388 | 97.5% | 17.9778 | 1.705 | 44.5917
14 | Grid ops | 11 | 730255.5 | 52.5784 | 7.9867 | 44.5917 | 26.1529 | 18.4388 | 97.5% | 17.9778 | 1.705 | 44.5917
15 | Grid ops | 12 | 730255.5 | 52.5784 | 7.9867 | 44.5917 | 26.1529 | 18.4388 | 97.5% | 17.9778 | 1.705 | 44.5917
16 | Grid ops | 13 | 730255.5 | 52.5784 | 7.9867 | 44.5917 | 26.1529 | 18.4388 | 97.5% | 17.9778 | 1.705 | 44.5917
17 | Grid ops | 14 | 730255.5 | 52.5784 | 7.9867 | 44.5917 | 26.1529 | 18.4388 | 97.5% | 17.9778 | 1.705 | 44.5917
18 | Grid ops | 15 | 730255.5 | 52.5784 | 7.9867 | 44.5917 | 26.1529 | 18.4388 | 97.5% | 17.9778 | 1.705 | 44.5917
19 | Grid ops | 16 | 730255.5 | 52.5784 | 7.9867 | 44.5917 | 26.1529 | 18.4388 | 97.5% | 17.9778 | 1.705 | 44.5917
20 | Grid ops | 17 | 730255.5 | 52.5784 | 7.9867 | 44.5917 | 26.1529 | 18.4388 | 97.5% | 17.9778 | 1.705 | 44.5917
21 | Grid ops | 18 | 730255.5 | 52.5784 | 7.9867 | 44.5917 | 26.1529 | 18.4388 | 97.5% | 17.9778 | 1.705 | 44.5917
22 | Grid ops | 19 | 730255.5 | 52.5784 | 7.9867 | 44.5917 | 26.1529 | 18.4388 | 97.5% | 17.9778 | 1.705 | 44.5917
23 | Grid ops | 20 | 730255.5 | 52.5784 | 7.9867 | 44.5917 | 0 | 44.5917 | 97.5% | 43.4769 |  | 44.5917
24 | Grid ops | 21 | 730255.5 | 52.5784 | 7.9867 | 44.5917 | 0 | 44.5917 | 97.5% | 43.4769 |  | 44.5917
25 | Grid ops | 22 | 730255.5 | 52.5784 | 7.9867 | 44.5917 | 0 | 44.5917 | 97.5% | 43.4769 |  | 44.5917
26 | Grid ops | 23 | 730255.5 | 52.5784 | 7.9867 | 44.5917 | 0 | 44.5917 | 97.5% | 43.4769 |  | 44.5917
27 | Grid ops | 24 | 730255.5 | 52.5784 | 7.9867 | 44.5917 | 0 | 44.5917 | 97.5% | 43.4769 |  | 44.5917
28 | Grid ops | 25 | 730255.5 | 52.5784 | 7.9867 | 44.5917 | 0 | 44.5917 | 97.5% | 43.4769 |  | 44.5917
29 | Grid ops | 26 | 730255.5 | 52.5784 | 7.9867 | 44.5917 | 0 | 44.5917 | 97.5% | 43.4769 |  | 44.5917
30 | Grid ops | 27 | 730255.5 | 52.5784 | 7.9867 | 44.5917 | 0 | 44.5917 | 97.5% | 43.4769 |  | 44.5917
31 | Grid ops | 28 | 730255.5 | 52.5784 | 7.9867 | 44.5917 | 0 | 44.5917 | 97.5% | 43.4769 |  | 44.5917
32 | Grid ops | 29 | 730255.5 | 52.5784 | 7.9867 | 44.5917 | 0 | 44.5917 | 97.5% | 43.4769 |  | 44.5917

## GeoColoc
GeoColoc: annual cash flow waterfall ($mm)
Developer levered IRR: | 33.08% | Unlevered (project) IRR: | 6.537% | NPV of dev cash @ discount rate ($mm): | 186.6642
Year | Phase | Op yr | Net energy (MWh) | Revenue | OPEX | EBITDA | Debt service | Distributable cash | Dev share | Dev cash flow | DSCR | Project CF (unlevered)
0 | Equity |  | 0 | 0 | 0 | 0 | 0 | 0 |  | -43.9741 |  | -580.25
1 | Construction |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0
2 | Construction |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0
3 | Queue wait | 0 | 730255.5 | 78.7548 | 9.1293 | 69.6255 | 26.7052 | 42.9203 | 70% | 30.0442 | 2.6072 | 69.6255
4 | Queue wait | 1 | 730255.5 | 78.7548 | 9.1293 | 69.6255 | 26.7052 | 42.9203 | 70% | 30.0442 | 2.6072 | 69.6255
5 | Queue wait | 2 | 730255.5 | 78.7548 | 9.1293 | 69.6255 | 26.7052 | 42.9203 | 70% | 30.0442 | 2.6072 | 69.6255
6 | Queue wait | 3 | 730255.5 | 78.7548 | 9.1293 | 69.6255 | 26.7052 | 42.9203 | 70% | 29.0442 | 2.6072 | 69.6255
7 | Grid ops | 4 | 730255.5 | 52.5784 | 8.7367 | 43.8417 | 26.7052 | 17.1365 | 97.5% | 16.7081 | 1.6417 | 43.8417
8 | Grid ops | 5 | 730255.5 | 52.5784 | 8.7367 | 43.8417 | 26.7052 | 17.1365 | 97.5% | 16.7081 | 1.6417 | 43.8417
9 | Grid ops | 6 | 730255.5 | 52.5784 | 8.7367 | 43.8417 | 26.7052 | 17.1365 | 97.5% | 16.7081 | 1.6417 | 43.8417
10 | Grid ops | 7 | 730255.5 | 52.5784 | 8.7367 | 43.8417 | 26.7052 | 17.1365 | 97.5% | 16.7081 | 1.6417 | 43.8417
11 | Grid ops | 8 | 730255.5 | 52.5784 | 8.7367 | 43.8417 | 26.7052 | 17.1365 | 97.5% | 16.7081 | 1.6417 | 43.8417
12 | Grid ops | 9 | 730255.5 | 52.5784 | 8.7367 | 43.8417 | 26.7052 | 17.1365 | 97.5% | 16.7081 | 1.6417 | 43.8417
13 | Grid ops | 10 | 730255.5 | 52.5784 | 8.7367 | 43.8417 | 26.7052 | 17.1365 | 97.5% | 16.7081 | 1.6417 | 43.8417
14 | Grid ops | 11 | 730255.5 | 52.5784 | 8.7367 | 43.8417 | 26.7052 | 17.1365 | 97.5% | 16.7081 | 1.6417 | 43.8417
15 | Grid ops | 12 | 730255.5 | 52.5784 | 8.7367 | 43.8417 | 26.7052 | 17.1365 | 97.5% | 16.7081 | 1.6417 | 43.8417
16 | Grid ops | 13 | 730255.5 | 52.5784 | 8.7367 | 43.8417 | 26.7052 | 17.1365 | 97.5% | 16.7081 | 1.6417 | 43.8417
17 | Grid ops | 14 | 730255.5 | 52.5784 | 8.7367 | 43.8417 | 26.7052 | 17.1365 | 97.5% | 16.7081 | 1.6417 | 43.8417
18 | Grid ops | 15 | 730255.5 | 52.5784 | 8.7367 | 43.8417 | 26.7052 | 17.1365 | 97.5% | 16.7081 | 1.6417 | 43.8417
19 | Grid ops | 16 | 730255.5 | 52.5784 | 8.7367 | 43.8417 | 26.7052 | 17.1365 | 97.5% | 16.7081 | 1.6417 | 43.8417
20 | Grid ops | 17 | 730255.5 | 52.5784 | 8.7367 | 43.8417 | 26.7052 | 17.1365 | 97.5% | 16.7081 | 1.6417 | 43.8417
21 | Grid ops | 18 | 730255.5 | 52.5784 | 8.7367 | 43.8417 | 26.7052 | 17.1365 | 97.5% | 16.7081 | 1.6417 | 43.8417
22 | Grid ops | 19 | 730255.5 | 52.5784 | 8.7367 | 43.8417 | 26.7052 | 17.1365 | 97.5% | 16.7081 | 1.6417 | 43.8417
23 | Grid ops | 20 | 730255.5 | 52.5784 | 8.7367 | 43.8417 | 0 | 43.8417 | 97.5% | 42.7457 |  | 43.8417
24 | Grid ops | 21 | 730255.5 | 52.5784 | 8.7367 | 43.8417 | 0 | 43.8417 | 97.5% | 42.7457 |  | 43.8417
25 | Grid ops | 22 | 730255.5 | 52.5784 | 8.7367 | 43.8417 | 0 | 43.8417 | 97.5% | 42.7457 |  | 43.8417
26 | Grid ops | 23 | 730255.5 | 52.5784 | 8.7367 | 43.8417 | 0 | 43.8417 | 97.5% | 42.7457 |  | 43.8417
27 | Grid ops | 24 | 730255.5 | 52.5784 | 8.7367 | 43.8417 | 0 | 43.8417 | 97.5% | 42.7457 |  | 43.8417
28 | Grid ops | 25 | 730255.5 | 52.5784 | 8.7367 | 43.8417 | 0 | 43.8417 | 97.5% | 42.7457 |  | 43.8417
29 | Grid ops | 26 | 730255.5 | 52.5784 | 8.7367 | 43.8417 | 0 | 43.8417 | 97.5% | 42.7457 |  | 43.8417
30 | Grid ops | 27 | 730255.5 | 52.5784 | 8.7367 | 43.8417 | 0 | 43.8417 | 97.5% | 42.7457 |  | 43.8417
31 | Grid ops | 28 | 730255.5 | 52.5784 | 8.7367 | 43.8417 | 0 | 43.8417 | 97.5% | 42.7457 |  | 43.8417
32 | Grid ops | 29 | 730255.5 | 52.5784 | 8.7367 | 43.8417 | 0 | 43.8417 | 97.5% | 42.7457 |  | 43.8417

## Results
Results
| Solar+BESS 100MW | Wind+BESS 150MW | Geothermal+BESS 100MW
Baseline developer levered IRR | 12.63% | 18.92% | 25.06%
Co-location developer levered IRR | 11.79% | 24.44% | 33.08%
Delta IRR (co-location - baseline), pp | -0.83901 | 5.5187 | 8.025
Baseline unlevered (project) IRR | 2.607% | 3.896% | 5.689%
Co-location unlevered (project) IRR | 3.164% | 4.604% | 6.537%
Baseline NPV of dev cash ($mm) | 7.9836 | 33.3488 | 111.2737
Co-location NPV of dev cash ($mm) | 11.742 | 58.258 | 186.6642
VALUE BRIDGE: co-location impact over the queue-wait window
Queue-wait revenue uplift, total ($mm) | 109.7004 | 197.7478 | 315.0192
Queue-wait revenue uplift, per year ($mm/yr) | 27.4251 | 49.4369 | 78.7548
Queue-wait EBITDA uplift, total ($mm) | 88.7029 | 158.4376 | 278.5019
Queue-wait developer cash uplift, total ($mm) | 37.2685 | 66.1691 | 119.1767
vs. Microgrid CAPEX ($mm) | 12 | 18 | 12
vs. Incremental developer equity ($mm) | 18.6391 | 8.1 | 5.4
Delta NPV of developer cash ($mm) | 3.7584 | 24.9092 | 75.3906
Scenario sweep: Solar+BESS 100MW (ITC pathway, flip yr 6; static values at flat $60 BTM; baseline = deferred construction)
ITC | Queue (yrs) | Baseline IRR | Co-location IRR | Delta (pp)
30% | 2 | 12.63% | 4.93% | -7.7
30% | 4 | 12.63% | 4.41% | -8.22
30% | 6 | 12.63% | 3.77% | -8.86
30% | 8 | 12.63% | 3.21% | -9.42
0% | 2 | 0.58% | -1.14% | -1.72
0% | 4 | 0.58% | -1.41% | -1.99
0% | 6 | 0.58% | -1.67% | -2.25
0% | 8 | 0.58% | -1.93% | -2.51
Scenario sweep: Wind+BESS 150MW (ITC pathway, flip yr 6; static values at flat $60 BTM; baseline = deferred construction)
ITC | Queue (yrs) | Baseline IRR | Co-location IRR | Delta (pp)
30% | 2 | 18.92% | 11.07% | -7.85
30% | 4 | 18.92% | 10.06% | -8.86
30% | 6 | 18.92% | 8.98% | -9.94
30% | 8 | 18.92% | 8.11% | -10.81
0% | 2 | 3.19% | 1.16% | -2.03
0% | 4 | 3.19% | 0.82% | -2.37
0% | 6 | 3.19% | 0.5% | -2.69
0% | 8 | 3.19% | 0.19% | -3
Scenario sweep: Geothermal+BESS 100MW (ITC pathway, flip yr 6; static values at flat $60 BTM; baseline = deferred construction)
ITC | Queue (yrs) | Baseline IRR | Co-location IRR | Delta (pp)
30% | 2 | 25.06% | 20.06% | -5
30% | 4 | 25.06% | 18.82% | -6.24
30% | 6 | 25.06% | 17.64% | -7.42
30% | 8 | 25.06% | 16.79% | -8.27
0% | 2 | 6.42% | 5.57% | -0.85
0% | 4 | 6.42% | 5.26% | -1.16
0% | 6 | 6.42% | 5% | -1.42
0% | 8 | 6.42% | 4.76% | -1.66
M4 LOOP CLOSURE: co-location IRR at flat $60 (v7 sweep) vs at Model 4 per-config BTM
Effective BTM price now in use ($/MWh) | 121.2562 | 116.3537 | 108.9349
Co-location levered IRR at flat $60 (from v7 sweep, 4yr/30%) | 4.41% | 10.06% | 18.82%
Co-location levered IRR, live at effective BTM | 11.79% | 24.44% | 33.08%
IRR change from closing the loop, pp | 7.3843 | 14.3832 | 14.262

## M3_Inputs
Model 3 inputs: data center electricity cost
SEC 1: DATA CENTER LOAD
DC nameplate load | 100 | MW | Scenario setting; central case of 50/100/200 MW
DC load factor | 90% | frac | Placeholder: AI data center annualized utilization, to be sourced
Hours per year | 8760 | hrs | Constant
Annual DC demand | 788400 | MWh/yr | Nameplate x load factor x 8760
SEC 2: GENERATION SUPPLY (from Model 2 configs)
Solar net capacity factor | 26% | frac | Placeholder: Model 2 SolarBase net of degradation, availability and losses (gross CF 25-30%, NREL ATB 2024, https://atb.nrel.gov/electricity/2024/technologies)
Wind net capacity factor | 33% | frac | Placeholder: Model 2 WindBase net (gross 30-35%, NREL ATB 2024)
Geothermal net capacity factor | 87% | frac | Placeholder: Model 2 GeoBase net (gross 90%+, NREL ATB 2024)
Solar capacity | 100 | MW | Model 2 configuration
Wind capacity | 150 | MW | Model 2 configuration
Geothermal capacity | 100 | MW | Model 2 configuration
BESS round-trip efficiency | 87.5% | frac | Framework Sec. 2.5.3 (85-90%). Coverage treated as an energy-balance bound; no hourly dispatch.
SEC 3: PRICES - SOURCED
CAISO HV Transmission Access Charge (TAC) | 15.5751 | $/MWh | CAISO, High Voltage Access Charge Rates effective Jan 1 2026, https://www.caiso.com/documents/high-voltage-access-charge-rates-effective-jan-01-2026.pdf
RA capacity price (system, wtd avg) | 25.19 | $/kW-mo | CPUC, 2025 LCR-RCM calculation (Q1-Q4 2024 contracts, 2025-26 delivery), https://www.cpuc.ca.gov/-/media/cpuc-website/divisions/energy-division/documents/resource-adequacy-homepage/resource-adequacy-compliance-materials/lcr-rcm-2025.pdf
Planning reserve margin (PRM) | 18% | frac | CPUC D.25-06-048 (June 2025), Slice-of-Day framework, https://www.cpuc.ca.gov/-/media/cpuc-website/divisions/energy-division/documents/resource-adequacy-homepage/oga-fact-sheet-on-track-3-decision-final.pdf
Utility bundled all-in rate (Structure A) | 236.91 | $/MWh | PG&E Schedule B-20 Primary, total electricity cost $0.23691/kWh, rates as of Mar 1 2026, PG&E-3CE Joint Rate Comparison, https://www.pge.com/assets/pge/docs/account/alternate-energy-providers/3ce-rcc.pdf. Primary voltage; the transmission-voltage rate (B-20 T) would be lower.
EIA-861 CA industrial avg (cross-check) | 215.3 | $/MWh | EIA-861 2024, California industrial average retail price, https://www.eia.gov/electricity/data/eia861/ (to be re-verified)
Non-bypassable charges (NBC: PCIA/PPP/ND/wildfire) | 23 | $/MWh | Placeholder: PG&E PCIA/FF line (~$0.023/kWh) in the PG&E-3CE Joint Rate Comparison, https://www.pge.com/assets/pge/docs/account/alternate-energy-providers/3ce-rcc.pdf; to be decomposed from tariff sheets
SEC 4: PRICES - PLACEHOLDERS
Grid PPA energy price (Structure B) | 70 | $/MWh | Placeholder: market comparable needed (e.g. LevelTen CAISO index)
BTM PPA price (Structure C) | 62 | $/MWh | Placeholder: midpoint assumption from Model 2
Ancillary services + CAISO GMC | 1.5 | $/MWh | Placeholder: CAISO GMC plus ancillary services; to be sourced from the CAISO market charges schedule
Scheduling coordinator fee | 0.5 | $/MWh | Placeholder
Shaping / imbalance cost | 7 | $/MWh | Placeholder: as-generated renewable vs flat load mismatch; to be sourced from hourly dispatch model
Microgrid service fee (paid by DC) | 3.5 | $/MWh | Framework Sec. 3.2 ($2-5/MWh). Microgrid CAPEX sits in Model 2 project CAPEX; the DC pays the service fee only.
Backup power cost (diesel, Phase 1) | 300 | $/MWh | Placeholder: CA diesel generation fuel, O&M and permits; to be sourced (e.g. Lazard LCOE+ gas peaking as proxy)
Standby charge (Phase 2, grid backup) | 5 | $/MWh | Placeholder: CPUC standby / departing-load tariff (e.g. PG&E Schedule S); convert $/kW-mo to $/MWh once sourced

## M3_Coverage
Energy-Balance Coverage by Configuration
| Solar+BESS | Wind+BESS | Geo+BESS
Capacity (MW) | 100 | 150 | 100
Net capacity factor | 26% | 33% | 87%
Annual net generation (MWh) | 227760 | 433620 | 762120
Annual DC demand (MWh) | 788400 | 788400 | 788400
Coverage ratio (capped at 100%) | 28.89% | 55% | 96.67%
Uncovered share (backup/grid) | 71.11% | 45% | 3.333%

## M3_StructA_B
Structure A: Utility Tariff (bundled, all-in)
All-in delivered cost ($/MWh) | 236.91 | PG&E B-20 Primary, Mar 2026 (M3_Inputs)
Cross-check: EIA-861 CA industrial avg | 215.3
Structure B: Sleeved Grid PPA (all-in delivered)
PPA energy price | 70 | Placeholder
CAISO TAC (HV) | 15.5751 | CAISO, Jan 2026
Non-bypassable charges | 23 | Placeholder
Resource Adequacy | 45.2423 | Nameplate kW x (1+PRM) x $/kW-mo x 12 / annual MWh
Ancillary + GMC | 1.5 | Placeholder
Scheduling coordinator | 0.5 | Placeholder
Shaping / imbalance | 7 | Placeholder
Structure B all-in ($/MWh) | 162.8174

## M3_StructC
Structure C: BTM Co-location (all-in $/MWh to the DC)
| Solar+BESS | Wind+BESS | Geo+BESS
Coverage ratio | 28.89% | 55% | 96.67%
PHASE 1 (islanded, queue-wait window)
BTM energy component | 17.9111 | 34.1 | 59.9333
Backup component (uncovered x diesel) | 213.3333 | 135 | 10
Microgrid service fee | 3.5 | 3.5 | 3.5
Phase 1 all-in ($/MWh) | 234.7444 | 172.6 | 73.4333
PHASE 2 (grid-connected, post-COD)
BTM energy component | 17.9111 | 34.1 | 59.9333
Grid supplemental (uncovered x [PPA+TAC+NBC]) | 77.209 | 48.8588 | 3.6192
Standby charge | 5 | 5 | 5
Microgrid service fee | 3.5 | 3.5 | 3.5
Phase 2 all-in ($/MWh) | 103.6201 | 91.4588 | 72.0525
Phase 2 grid supplemental excludes a separate RA charge.

## M3_Results
Model 3 Results - Effective Delivered Cost and H2 Test
| Solar+BESS | Wind+BESS | Geo+BESS
Structure A - utility tariff ($/MWh) | 236.91 | 236.91 | 236.91
Structure B - sleeved grid PPA all-in ($/MWh) | 162.8174 | 162.8174 | 162.8174
Structure C - Phase 1 islanded ($/MWh) | 234.7444 | 172.6 | 73.4333
Structure C - Phase 2 grid-connected ($/MWh) | 103.6201 | 91.4588 | 72.0525
H2 TEST - dual denominator
Savings, P1 vs B all-in: (B-C1)/B | -44.18% | -6.008% | 54.9%
Savings, P2 vs B all-in: (B-C2)/B | 36.36% | 43.83% | 55.75%
Savings, P1 vs B PPA price only | -235.3% | -146.6% | -4.905%
Savings, P2 vs B PPA price only | -48.03% | -30.66% | -2.932%
H2 (20-35%) met on all-in basis, Phase 1? | NO | NO | YES

## M4_LCOE
Model 4: Levelized cost of energy (BTM price floor)
SEC 1: SHARED PARAMETERS
Discount rate (WACC proxy) | 8% | frac | Inputs!B24. Framework 2.4: WACC 7-9%
Hours per year | 8760 | hrs
SEC 2: LCOE BUILD-UP BY CONFIGURATION
| Solar+BESS 100MW | Wind+BESS 150MW | Geo+BESS 100MW
Capacity (MW) | 100 | 150 | 100
Capacity factor | 27.5% | 35% | 90%
Availability | 98% | 96% | 95%
Electrical losses | 2.5% | 2.5% | 2.5%
Annual degradation | 0.5% | 0.2% | 0%
Operating life (yrs) | 25 | 25 | 30
Year-1 net energy (MWh) | 230179.95 | 430466.4 | 730255.5
Total CAPEX, baseline ($mm) | 197 | 321.4 | 568.25
Microgrid CAPEX ($mm) | 12 | 18 | 12
Total CAPEX, co-location ($mm) | 209 | 339.4 | 580.25
Fixed O&M gen+BESS ($mm/yr) | 3 | 6.375 | 4.625
Land + insurance ($mm/yr) | 1.088 | 1.586 | 2.573
Microgrid O&M ($mm/yr) | 0.75 | 1.125 | 0.75
Annual OPEX, baseline ($mm/yr) | 4.088 | 7.961 | 7.198
Annual OPEX, co-location ($mm/yr) | 4.838 | 9.086 | 7.948
ITC amount @ lever rate ($mm) | 54 | 88.875 | 159.375
Tax equity contribution ($mm) | 73.5716 | 121.0866 | 217.1384
SEC 3: PRESENT-VALUE FACTORS
PV annuity factor for level OPEX | 10.6748 | 10.6748 | 11.2578
Degradation-adjusted growth q = (1−d)/(1+r) | 0.9213 | 0.92407 | 0.92593
PV energy factor (yrs of Y1-equivalent) | 10.1979 | 10.4803 | 11.2578
PV of lifetime energy (MWh) | 2347359.2835 | 4511435.9389 | 8221058.2041
SEC 4: LCOE OUTPUTS ($/MWh)
| Solar+BESS 100MW | Wind+BESS 150MW | Geo+BESS 100MW
LCOE: baseline, no credit (gross) | 102.5146 | 90.0782 | 78.9781
LCOE: co-location, no credit (gross) | 111.0374 | 96.73 | 81.4648
LCOE: baseline, net of tax equity | 71.1723 | 63.2382 | 52.5656
LCOE: co-location, net of tax equity | 79.6951 | 69.89 | 55.0523
Cross-check vs NREL ATB 2024 generation-only LCOE ranges
NREL ATB 2024 (moderate, R&D+Market) | Solar PV $24–42 | Wind $25–50 | Geothermal $55–80 | NREL ATB 2024, https://atb.nrel.gov/electricity/2024/technologies (generation only; excludes BESS, microgrid, land, interconnection)

## M4_Bounds
Model 4: Price Floor, Ceiling, and Negotiation Zone
SEC 1: CEILING (data center's grid alternative)
Ceiling A: Structure B all-in delivered | 162.8174 | $/MWh
Ceiling B: energy-only market PPA | 72 | $/MWh
Ceiling C: spot + wires (Phase-2 supplemental) | 78.5751 | $/MWh
T&D + capacity savings pool (A − B) | 90.8174 | $/MWh
SEC 2: FLOOR & ZONE BY CONFIGURATION
| Solar+BESS | Wind+BESS | Geo+BESS
Floor: LCOE gross (no credit) | 111.0374 | 96.73 | 81.4648
Floor: LCOE net of tax equity (BASE) | 79.6951 | 69.89 | 55.0523
Zone vs Ceiling A (all-in): base floor | 83.1223 | 92.9274 | 107.7651
Zone vs Ceiling B (energy-only): base floor | -7.6951 | 2.11 | 16.9477
Zone vs Ceiling A: gross floor (no credit) | 51.7801 | 66.0875 | 81.3526
SEC 3: VIABILITY TESTS
| Solar+BESS | Wind+BESS | Geo+BESS
Viable vs all-in ceiling (base floor)? | YES | YES | YES
Viable vs energy-only ceiling (base floor)? | NO | YES | YES
Viable vs all-in ceiling (zero credit)? | YES | YES | YES
Model 2 BTM input ($60) above base floor? | NO: below LCOE | NO: below LCOE | YES

## M4_Pricing
Model 4: BTM Price Setting and Two-Sided Viability Test
SEC 1: LEVERS
Bargaining share α (0 = price at floor, 1 = price at ceiling) | 0.5 | frac | Framework 4.3; 0.5 = symmetric split
Industry discount to energy-only PPA | 15% | frac | Framework 4.3 (10-20% discount; midpoint)
Developer levered IRR hurdle | 10% | frac | Framework 2.9.3 (10-15% hurdle; low end)
DC minimum savings vs grid (H2 lower bound) | 20% | frac | H2 (20-35% savings; lower bound)
SEC 2: THREE PRICE-SETTING METHODS ($/MWh)
| Solar+BESS | Wind+BESS | Geo+BESS | Source
Method 1: Midpoint (floor, all-in ceiling) | 121.2562 | 116.3537 | 108.9349 | Framework 4.5, Step 1
Method 2: Industry discount to energy PPA | 61.2 | 61.2 | 61.2 | Framework 4.3
Method 3: Bargaining share α on zone | 121.2562 | 116.3537 | 108.9349
Method 2 vs floor: is discount price above LCOE? | NO: below cost | NO: below cost | YES
SEC 3: SELECTED BTM PRICE (feeds Model 2 / Model 3)
Method selector (1/2/3) | 3
BTM PPA price: selected ($/MWh) | 121.2562 | 116.3537 | 108.9349
vs Model 2 current input ($60) | 61.2562 | 56.3537 | 48.9349
SEC 4: TWO-SIDED VIABILITY AT SELECTED PRICE
| Solar+BESS | Wind+BESS | Geo+BESS
Developer side: price − LCOE floor ($/MWh) | 41.5612 | 46.4637 | 53.8825
Developer side: Model 2 co-loc levered IRR (live, at effective BTM) | 11.79% | 24.44% | 33.08%
Developer side: meets hurdle at effective BTM? | YES | YES | YES
DC side: all-in BTM cost, Phase 2 ($/MWh) | 120.7385 | 121.3533 | 117.4229
DC side: savings vs Structure B all-in | 25.84% | 25.47% | 27.88%
DC side: meets minimum savings? | YES | YES | YES
BOTH PARTIES VIABLE (Phase 2, at effective BTM)? | YES | YES | YES
SEC 5: PRICE RANGE SATISFYING BOTH (analytical)
Max price DC accepts (savings = min) | 154.1941 | 132.5366 | 122.2084
Min price developer accepts (LCOE floor) | 79.6951 | 69.89 | 55.0523
Mutually acceptable range width ($/MWh) | 74.4991 | 62.6466 | 67.156
Deal exists? | YES | YES | YES

## M4_Notes
Model 4: Methodology Notes and Findings
§1 What Model 4 does
Determines the price range within which a behind-the-meter PPA is acceptable to both the renewable developer and the co-located data center (framework Sec 4). Floor = developer's LCOE (M4_LCOE, computed from Model 2 Configurations at the Model 2 discount rate). Ceiling = data center's grid alternative (M3 Structure B all-in delivered cost). Zone = ceiling − floor. Three price-setting methods (framework 4.3/4.5), a two-sided viability test, and an analytical solve for the mutually acceptable range.
§2 LCOE construction
Closed-form: LCOE = [CAPEX + OPEX × PVA(r,N)] / [E₁ × q(1−q^N)/(1−q)] with q = (1−d)/(1+r). CAPEX and OPEX pulled live from Configurations (NREL ATB 2024 midpoints). Discount rate linked to Model 2's 8% NPV rate (framework 2.4: WACC 7–9%). Two variants: gross (no credits, OBBBA Scenario D) and net of tax equity (CAPEX reduced by the Capitalization R18 contribution). Net LCOE is the base floor because tax equity is real capital the developer does not have to raise. Model LCOEs are above NREL ATB generation-only ranges because they include BESS (LCOS $113–159), microgrid, land, and interconnection: this is by design; the floor must cover the whole project.
§3 FINDING: Model 2's $60/MWh BTM price is below LCOE for solar and wind
Base-case co-location LCOE net of tax equity: Solar $79.70, Wind $69.89, Geothermal $55.05. At the industry-convention flat $60 BTM price (Inputs!B27 = 1), solar sells ~$20 below cost and wind ~$10 below cost at 8% WACC; only geothermal clears its floor. Consistent with this, at a flat $60 co-location lowers developer levered IRR relative to the deferred-construction baseline for every configuration, ITC case and delay tested (Results rows 24–55; e.g. 4-yr delay, 30% ITC: solar 4.4% vs 12.6%, wind 10.1% vs 18.9%, geothermal 18.8% vs 25.1%). The $60 figure comes from the 'industry 10–20% discount to energy PPA' convention, which is benchmarked to the $72 energy-only PPA and is blind to the developer's cost.
§4 FINDING: the true negotiation zone is much wider than the framework expected, because the ceiling is higher
Framework Sec 3 estimated Structure B (sleeved grid PPA) at $60–90/MWh. Model 3 found $162.82 once RA ($45), TAC ($16), NBC ($23), and shaping are stacked. That $91 gap between energy-only PPA and all-in delivered cost is the 'T&D + capacity savings pool' the two parties are actually dividing. With the all-in ceiling, the zone is $83 (solar) / $93 (wind) / $108 (geo) wide, and the midpoint price is ~$109–121 rather than ~$60. At the midpoint the developer earns $42–54/MWh over LCOE and the DC still saves 26–28% vs grid: both parties clear their thresholds for all three configurations. Framework 4.2's warning that 'if LCOE > Grid PPA Cost, co-location is not viable' does NOT bind for any configuration once the correct ceiling is used, even in the zero-credit stress case.
§5 FINDING: Method 2 (industry convention) and Methods 1/3 (surplus-splitting) give very different prices; the paper must choose and justify
Method 2 gives $61 for all configs (config-blind). Methods 1/3 at α=0.5 give $109–121 (config-specific). The $50–60 gap is the T&D savings pool split. Recommended framing for the paper: Method 2 is what a DC would open with if it frames the deal as 'a cheaper PPA'; Methods 1/3 are what the deal is worth once the DC's avoided wires and capacity costs are priced in. The bargaining lever α lets the paper show the full range. A defensible base case is α = 0.5 (framework 4.3: 'allocating the T&D savings roughly 50/50'), which is Method 1.
§6 Analytical mutually-acceptable range (SEC 5)
P_max is solved from the Model 3 Phase-2 cost equation: P such that DC all-in cost = Ceiling_A × (1 − min_savings). P_min is the LCOE floor. Range width: Solar $74.50, Wind $62.65, Geo $67.16: a deal exists for all three at 20% minimum DC savings and 8% developer WACC. Solar's range is widest because its low coverage ratio (29%) means the BTM price has little weight in the DC's blended cost, so the DC is price-insensitive to it. This is a double-edged result: the DC will accept a high solar BTM price, but the developer earns it on only 29% of the DC's load.
§7 Loop closure status and open items (updated for v8)
(a) CLOSED in v8: the M4→M2 loop is linked. Configurations row 16 takes each configuration's selected Model 4 price when Inputs!B27 = 2; set B27 = 1 to reproduce the flat $60 runs. (b) CLOSED in v8: the developer IRR in M4_Pricing SEC 4 is Model 2's live levered IRR at the effective (Model 4) BTM price, not a $60 proxy. (c) OPEN: Model 3 Structure C still uses its own BTM placeholder (M3_Inputs!B25 = $62) rather than the selected Model 4 price; M4_Pricing row 27 computes the DC's Phase-2 cost at the selected price directly. (d) OPEN: LCOE uses 8% flat; a config-specific WACC (geothermal lower risk → lower WACC → lower floor) would widen the geothermal zone further. (e) OPEN: Bargaining share α is a lever, not an estimate: practitioner interviews (Q4 in Chien questions, tax-equity market conditions) are the intended source. (f) OPEN: Carbon scenarios from M1 are not yet wired into the ceiling; C30/C60 would raise Ceiling_C by $13/$26 and Ceiling_A by roughly the same (higher spot passes through to the sleeved PPA).
§8 Implication for H1/H2 restatement
H1 (developer IRR +3–6 pp) was originally tested in Model 2 at a flat $60 BTM price, where co-location lowers IRR for all configurations. At the Model 4 price (α = 0.5), in the base case of a 4-year delay and 30% ITC, co-location changes developer levered IRR by −0.8 pp for solar (11.8% vs 12.6%: it clears the 10% hurdle but not the waiting baseline), +5.5 pp for wind and +8.0 pp for geothermal, and raises developer NPV for all three. From Fig2_Breakeven, co-location beats waiting once the delay exceeds about 4 years for solar and 2 years for wind, and at every delay tested for geothermal. H2 (DC saves 20–35%) holds at the midpoint price for all configs in Phase 2 (26–28%). The restated hypothesis should be joint: 'there exists a BTM price at which the developer clears WACC and the DC saves ≥20%, for all three configurations, with the geothermal zone widest on the developer side and the solar zone widest on the DC side.'

## Fig2_Breakeven
Figure 2 data: developer levered IRR vs queue wait (static sweep values; BTM lever 1 = flat $60, 2 = Model 4 price)
BTM lever | ITC | Queue (yr) | Solar base | Solar coloc | Wind base | Wind coloc | Geo base | Geo coloc | Solar BTM $/MWh | Wind BTM $/MWh | Geo BTM $/MWh
1 | 30% | 1 | 12.63% | 5.234% | 18.92% | 11.7% | 25.06% | 20.91% | 60 | 60 | 60
1 | 30% | 2 | 12.63% | 4.935% | 18.92% | 11.07% | 25.06% | 20.06% | 60 | 60 | 60
1 | 30% | 3 | 12.63% | 4.661% | 18.92% | 10.53% | 25.06% | 19.38% | 60 | 60 | 60
1 | 30% | 4 | 12.63% | 4.407% | 18.92% | 10.06% | 25.06% | 18.82% | 60 | 60 | 60
1 | 30% | 5 | 12.63% | 4.079% | 18.92% | 9.487% | 25.06% | 18.18% | 60 | 60 | 60
1 | 30% | 6 | 12.63% | 3.773% | 18.92% | 8.98% | 25.06% | 17.64% | 60 | 60 | 60
1 | 30% | 7 | 12.63% | 3.484% | 18.92% | 8.523% | 25.06% | 17.18% | 60 | 60 | 60
1 | 30% | 8 | 12.63% | 3.21% | 18.92% | 8.107% | 25.06% | 16.79% | 60 | 60 | 60
1 | 0% | 1 | 0.58% | -1.008% | 3.19% | 1.34% | 6.42% | 5.735% | 60 | 60 | 60
1 | 0% | 2 | 0.58% | -1.143% | 3.19% | 1.161% | 6.42% | 5.566% | 60 | 60 | 60
1 | 0% | 3 | 0.58% | -1.276% | 3.19% | 0.9891% | 6.42% | 5.409% | 60 | 60 | 60
1 | 0% | 4 | 0.58% | -1.408% | 3.19% | 0.8223% | 6.42% | 5.263% | 60 | 60 | 60
1 | 0% | 5 | 0.58% | -1.54% | 3.19% | 0.6599% | 6.42% | 5.127% | 60 | 60 | 60
1 | 0% | 6 | 0.58% | -1.671% | 3.19% | 0.5009% | 6.42% | 4.998% | 60 | 60 | 60
1 | 0% | 7 | 0.58% | -1.802% | 3.19% | 0.3446% | 6.42% | 4.876% | 60 | 60 | 60
1 | 0% | 8 | 0.58% | -1.934% | 3.19% | 0.1902% | 6.42% | 4.761% | 60 | 60 | 60
2 | 30% | 1 | 12.63% | 6.983% | 18.92% | 15.56% | 25.06% | 25.53% | 121.26 | 116.35 | 108.93
2 | 30% | 2 | 12.63% | 8.555% | 18.92% | 18.9% | 25.06% | 28.7% | 121.26 | 116.35 | 108.93
2 | 30% | 3 | 12.63% | 10.2% | 18.92% | 21.97% | 25.06% | 31.22% | 121.26 | 116.35 | 108.93
2 | 30% | 4 | 12.63% | 11.79% | 18.92% | 24.44% | 25.06% | 33.08% | 121.26 | 116.35 | 108.93
2 | 30% | 5 | 12.63% | 13.8% | 18.92% | 27% | 25.06% | 34.91% | 121.26 | 116.35 | 108.93
2 | 30% | 6 | 12.63% | 15.49% | 18.92% | 28.8% | 25.06% | 36.16% | 121.26 | 116.35 | 108.93
2 | 30% | 7 | 12.63% | 16.84% | 18.92% | 30.06% | 25.06% | 37.02% | 121.26 | 116.35 | 108.93
2 | 30% | 8 | 12.63% | 17.9% | 18.92% | 30.94% | 25.06% | 37.61% | 121.26 | 116.35 | 108.93
2 | 0% | 1 | 0.58% | -0.1251% | 3.19% | 2.435% | 6.42% | 6.682% | 136.93 | 129.77 | 122.14
2 | 0% | 2 | 0.58% | 0.7145% | 3.19% | 3.446% | 6.42% | 7.479% | 136.93 | 129.77 | 122.14
2 | 0% | 3 | 0.58% | 1.639% | 3.19% | 4.538% | 6.42% | 8.287% | 136.93 | 129.77 | 122.14
2 | 0% | 4 | 0.58% | 2.627% | 3.19% | 5.669% | 6.42% | 9.08% | 136.93 | 129.77 | 122.14
2 | 0% | 5 | 0.58% | 3.641% | 3.19% | 6.786% | 6.42% | 9.835% | 136.93 | 129.77 | 122.14
2 | 0% | 6 | 0.58% | 4.637% | 3.19% | 7.84% | 6.42% | 10.53% | 136.93 | 129.77 | 122.14
2 | 0% | 7 | 0.58% | 5.578% | 3.19% | 8.795% | 6.42% | 11.16% | 136.93 | 129.77 | 122.14
2 | 0% | 8 | 0.58% | 6.434% | 3.19% | 9.634% | 6.42% | 11.71% | 136.93 | 129.77 | 122.14

## Fig3_Zone
Figure 3 data: BTM price bounds and mutually acceptable range
Configuration | Net LCOE floor | Gross LCOE | DC 20% limit (P_max) | Ceiling (Structure B) | Midpoint | Seg1: floor | Seg2: acceptable | Seg3: rest of zone | $60 marker
Solar+BESS 100 MW | 79.6951 | 111.0374 | 154.1941 | 162.8174 | 121.2562 | 79.6951 | 74.4991 | 8.6233 | 60
Wind+BESS 150 MW | 69.89 | 96.73 | 132.5366 | 162.8174 | 116.3537 | 69.89 | 62.6466 | 30.2808 | 60
Geothermal+BESS 100 MW | 55.0523 | 81.4648 | 122.2084 | 162.8174 | 108.9349 | 55.0523 | 67.156 | 40.609 | 60

## Fig4_Alpha
Figure 4 data: two-sided viability across the bargaining share (static sweep values)
α | Solar IRR | Solar DC saving | Wind IRR | Wind DC saving | Geo IRR | Geo DC saving | Hurdle | Min saving
0 | 6.27% | 33.22% | 11.87% | 41.16% | 17.73% | 59.87% | 10% | 20%
0.1 | 7.189% | 31.74% | 13.87% | 38.02% | 20.22% | 53.47% | 10% | 20%
0.2 | 8.197% | 30.27% | 16.16% | 34.88% | 23.07% | 47.08% | 10% | 20%
0.35 | 9.888% | 28.06% | 20.11% | 30.18% | 27.9% | 37.48% | 10% | 20%
0.5 | 11.79% | 25.84% | 24.44% | 25.47% | 33.08% | 27.88% | 10% | 20%
0.65 | 13.9% | 23.63% | 28.88% | 20.76% | 38.28% | 18.28% | 10% | 20%
0.8 | 16.15% | 21.42% | 33.22% | 16.05% | 43.29% | 8.686% | 10% | 20%