## Inputs
Model 3 - Data Center Electricity Cost Model - INPUTS
Blue = hardcoded input. Yellow = PLACEHOLDER pending sourced data. Column D = source.
SEC 1: DATA CENTER LOAD
DC nameplate load | 100 | MW | Scenario setting (user; central case of 50/100/200 MW matrix)
DC load factor | 90% | frac | PLACEHOLDER - AI DC annualized utilization; to be sourced (lit. / Chien interview). Typical claim 85-95%.
Hours per year | 8760 | hrs | Constant
Annual DC demand | 788400 | MWh/yr | Calc: nameplate x LF x 8760
SEC 2: GENERATION SUPPLY (from Model 2 configs)
Solar net capacity factor | 26% | frac | PLACEHOLDER - Model 2 SolarBase net of degradation/availability/losses (gross CF 25-30%, NREL ATB 2024, https://atb.nrel.gov/electricity/2024/technologies)
Wind net capacity factor | 33% | frac | PLACEHOLDER - Model 2 WindBase net (gross 30-35%, NREL ATB 2024)
Geothermal net capacity factor | 87% | frac | PLACEHOLDER - Model 2 GeoBase net (gross 90%+, NREL ATB 2024)
Solar capacity | 100 | MW | Model 2 configuration
Wind capacity | 150 | MW | Model 2 configuration
Geothermal capacity | 100 | MW | Model 2 configuration
BESS round-trip efficiency | 87.5% | frac | Framework Sec 2.5.3 (85-90%); applied to shifted energy share - simplified: coverage treated as energy-balance bound, hourly dispatch pending
SEC 3: PRICES - SOURCED
CAISO HV Transmission Access Charge (TAC) | 15.5751 | $/MWh | CAISO, High Voltage Access Charge Rates effective Jan 1 2026, https://www.caiso.com/documents/high-voltage-access-charge-rates-effective-jan-01-2026.pdf
RA capacity price (system, wtd avg) | 25.19 | $/kW-mo | CPUC, 2025 LCR-RCM calculation (Q1-Q4 2024 contracts, 2025-26 delivery), https://www.cpuc.ca.gov/-/media/cpuc-website/divisions/energy-division/documents/resource-adequacy-homepage/resource-adequacy-compliance-materials/lcr-rcm-2025.pdf
Planning reserve margin (PRM) | 18% | frac | CPUC D.25-06-048 (June 2025), Slice-of-Day framework, https://www.cpuc.ca.gov/-/media/cpuc-website/divisions/energy-division/documents/resource-adequacy-homepage/oga-fact-sheet-on-track-3-decision-final.pdf
Utility bundled all-in rate (Structure A) | 236.91 | $/MWh | PG&E Schedule B-20 Primary, total electricity cost $0.23691/kWh, rates as of Mar 1 2026, PG&E-3CE Joint Rate Comparison, https://www.pge.com/assets/pge/docs/account/alternate-energy-providers/3ce-rcc.pdf. Note: transmission-voltage (B-20 T) would be somewhat lower; treat as upper reference.
EIA-861 CA industrial avg (cross-check) | 215.3 | $/MWh | EIA-861 2024, California industrial average retail price (prior extraction; re-verify at https://www.eia.gov/electricity/data/eia861/)
Non-bypassable charges (NBC: PCIA/PPP/ND/wildfire) | 23 | $/MWh | PLACEHOLDER - anchored to PG&E PCIA/FF line ~$0.023/kWh in PG&E joint rate comparisons (see B-20 rows, same PG&E PDFs); decompose properly from PG&E/SCE tariff sheets
SEC 4: PRICES - PLACEHOLDERS (pending Model 1 / Model 4)
Grid PPA energy price (Structure B) | 70 | $/MWh | PLACEHOLDER - market comparable needed (LevelTen CAISO index or similar); do NOT reuse project LCOE (circularity)
BTM PPA price (Structure C) | 62 | $/MWh | PLACEHOLDER - Model 4 output pending; currently midpoint assumption from Model 2
Ancillary services + CAISO GMC | 1.5 | $/MWh | PLACEHOLDER - CAISO GMC ~$0.4-0.5 + AS; source from CAISO market charges schedule
Scheduling coordinator fee | 0.5 | $/MWh | PLACEHOLDER
Shaping / imbalance cost | 7 | $/MWh | PLACEHOLDER - as-generated renewable vs flat load mismatch; source from hourly dispatch model when built
Microgrid service fee (paid by DC) | 3.5 | $/MWh | Framework Sec 3.2 range $2-5/MWh. ALLOCATION ASSUMPTION: microgrid CAPEX sits in Model 2 project CAPEX; DC pays service fee only - no double count
Backup power cost (diesel, Phase 1) | 300 | $/MWh | PLACEHOLDER - CA diesel gen fuel+O&M+permits; source needed (e.g., Lazard LCOE+ gas peaking as proxy, CARB permit constraints)
Standby charge (Phase 2, grid backup) | 5 | $/MWh | PLACEHOLDER - CPUC standby/departing-load tariff (e.g., PG&E Schedule S); convert $/kW-mo to $/MWh once sourced

## Coverage
Energy-Balance Coverage by Configuration
Coverage = min(1, annual net generation / annual DC demand). Energy-balance upper bound: BESS shifts timing but cannot create energy. Hourly dispatch (pending) will only lower these.
| Solar+BESS | Wind+BESS | Geo+BESS
Capacity (MW) | 100 | 150 | 100
Net capacity factor | 26% | 33% | 87%
Annual net generation (MWh) | 227760 | 433620 | 762120
Annual DC demand (MWh) | 788400 | 788400 | 788400
Coverage ratio (capped at 100%) | 28.89% | 55% | 96.67%
Uncovered share (backup/grid) | 71.11% | 45% | 3.333%

## StructA_B
Structure A: Utility Tariff (bundled, all-in)
All-in delivered cost ($/MWh) | 236.91 | PG&E B-20 Primary, Mar 2026. Upper reference; transmission voltage would be lower.
Cross-check: EIA-861 CA industrial avg | 215.3
Structure B: Sleeved Grid PPA (all-in delivered)
VPPA treated as sensitivity (see note row 20). Sleeved = physical delivery via grid at transmission voltage.
PPA energy price | 70 | Placeholder pending market comp
CAISO TAC (HV) | 15.5751 | Sourced - CAISO Jan 2026
Non-bypassable charges | 23 | Placeholder range
Resource Adequacy | 45.2423 | Calc: nameplate kW x (1+PRM) x $/kW-mo x 12 / annual MWh. Price and PRM sourced.
Ancillary + GMC | 1.5 | Placeholder
Scheduling coordinator | 0.5 | Placeholder
Shaping / imbalance | 7 | Placeholder
Structure B all-in ($/MWh) | 162.8174
KEY FINDING
RA capacity cost alone adds ~$45/MWh to a flat 100 MW load. Structure B all-in far exceeds the framework's $60-90/MWh estimate, resolving the Model 3 internal inconsistency in the direction of a WIDER negotiation zone.
VPPA sensitivity: VPPA cost = Structure A retail cost + (PPA price - hub LMP settlement). Requires Model 1 LMP; deferred.

## StructC
Structure C: BTM Co-location (all-in $/MWh to the DC)
Phase 1 = islanded (queue wait): backup fills uncovered share. Phase 2 = grid-connected: grid supply fills uncovered share.
| Solar+BESS | Wind+BESS | Geo+BESS
Coverage ratio | 28.89% | 55% | 96.67%
PHASE 1 (islanded, queue-wait window)
BTM energy component | 17.9111 | 34.1 | 59.9333
Backup component (uncovered x diesel) | 213.3333 | 135 | 10
Microgrid service fee | 3.5 | 3.5 | 3.5
Phase 1 all-in ($/MWh) | 234.7444 | 172.6 | 73.4333
PHASE 2 (grid-connected, post-COD)
BTM energy component | 17.9111 | 34.1 | 59.9333
Grid supplemental (uncovered x [PPA+TAC+NBC]) | 77.209 | 48.8588 | 3.6192
Standby charge | 5 | 5 | 5
Microgrid service fee | 3.5 | 3.5 | 3.5
Phase 2 all-in ($/MWh) | 103.6201 | 91.4588 | 72.0525
Note: Phase 2 grid supplemental assumes RA embedded in supplemental supply price is NOT separately charged (conservative low); alternative adds pro-rata RA - test in sensitivity.

## Results
Model 3 Results - Effective Delivered Cost and H2 Test
| Solar+BESS | Wind+BESS | Geo+BESS
Structure A - utility tariff ($/MWh) | 236.91 | 236.91 | 236.91
Structure B - sleeved grid PPA all-in ($/MWh) | 162.8174 | 162.8174 | 162.8174
Structure C - Phase 1 islanded ($/MWh) | 234.7444 | 172.6 | 73.4333
Structure C - Phase 2 grid-connected ($/MWh) | 103.6201 | 91.4588 | 72.0525
H2 TEST - dual denominator
Savings, P1 vs B all-in: (B-C1)/B | -44.18% | -6.008% | 54.9%
Savings, P2 vs B all-in: (B-C2)/B | 36.36% | 43.83% | 55.75%
Savings, P1 vs B PPA price only | -235.3% | -146.6% | -4.905%
Savings, P2 vs B PPA price only | -48.03% | -30.66% | -2.932%
H2 (20-35%) met on all-in basis, Phase 1? | NO | NO | YES
READING
The vs-PPA-price-only rows will show negative 'savings' for low-coverage configs (solar) because backup cost dominates - this is why the all-in denominator is the meaningful H2 test.