## Inputs
SPUR Preliminary Co-location Model v7 — per-configuration tabs
Three yellow levers apply to ALL configurations simultaneously (keeps cross-config comparison consistent). Blue = editable. $ in millions.
SCENARIO LEVERS (GLOBAL)
Queue wait (mech. completion -> COD), years | 4 | Test 2/4/6/8 (LBNL Queued Up 2025: https://emp.lbl.gov/queues)
ITC rate | 30% | 0% = OBBBA Scenario D (zero credit under EITHER credit type); 30% = full rate w/ PWA
Credit type (1=ITC, 2=PTC) | 1 | Framework 2.3.5: run both; PTC uses full depreciable basis
SHARED PARAMETERS
PTC rate ($/MWh, full rate w/ PWA) | 15 | $0.015/kWh, 10-yr duration (Framework 2.3.4; inflation adjustment omitted)
BESS delivery loss (RTE approx.) | 1% | Annual approximation of round-trip losses
Debt interest rate | 5.5% | Framework 2.3.1: 5-7% range
Debt tenor (years) | 20 | Framework 2.3.1
Target DSCR (debt sizing) | 1.35 | Framework 2.7
Max leverage (% of total capital) | 55% | Framework 2.3.1: 50-55%; binds when DSCR-sized debt exceeds it (wind, geothermal)
Combined tax rate (fed + CA) | 29.84% | 21% federal + 8.84% CA
Tax equity pay rate (per $ benefit PV) | 80% | TE pays ~80c per $1 PV of ITC + PTC + MACRS shield
MACRS PV discount rate | 7% | Assumption
Grid hybrid PPA price ($/MWh) | 72 | LBNL Utility-Scale Solar (hybrid PPA levels): https://emp.lbl.gov/utility-scale-solar
BTM PPA price ($/MWh) | 60 | ~17% discount, within 10-20% industry range (Framework 4.3)
Asset management (% of revenue) | 1.5% | Framework 2.6
Construction years | 2 | Framework 2.1
Flip year (calendar) | 6 | Framework 2.8.2 default; 2.8.4 illustrative table uses 7 — testable
Buyout at flip ($mm) | 1 | Nominal
NPV discount rate | 8% | Framework 2.9.3: 8% WACC
Developer cash share, pre-flip | 70% | Framework 2.8.2
Developer cash share, post-flip | 97.5% | Framework 2.8.2

## Configurations
Configuration library — each parameter feeds its configuration's tabs directly
Parameter | Solar+BESS 100MW | Wind+BESS 150MW | Geothermal+BESS 100MW | Source / note
Capacity (MW) | 100 | 150 | 100 | Solar/Geothermal: Framework 2.2.1. Wind: 150 MW scale variant (user-specified)
Capacity factor | 27.5% | 35% | 90% | Solar: CA midpoint. Wind: upper Tehachapi 30-35%. Geothermal: 90%+ Salton Sea/Imperial Valley (NREL ATB 2024: https://atb.nrel.gov/electricity/2024/technologies)
Annual degradation | 0.5% | 0.2% | 0% | Framework 2.5.2 (geothermal ~0%)
Availability | 98% | 96% | 95% | Framework 2.5.2
Electrical losses | 2.5% | 2.5% | 2.5% | Framework 2.5.2
Total CAPEX ($mm) | 197 | 321.4 | 568.25 | Solar: Framework 2.2.3. Wind: $1,350/kW x150 + BESS 75MW/300MWh @$1,250/kW + dev 4% + land + intercon. Geothermal: $5,000/kW x100 + BESS 25MW/50MWh + dev 4% + land + intercon (NREL ATB 2024 midpoints)
Qualified investment ($mm) | 180 | 296.25 | 531.25 | Generation + BESS only (Framework 2.2.4)
Microgrid CAPEX ($mm) | 12 | 18 | 12 | $120/kW midpoint of $50-150/kW x capacity
Fixed O&M, gen + BESS ($mm/yr) | 3 | 6.375 | 4.625 | Framework 2.6 midpoints per configuration
Land lease + insurance ($mm/yr) | 1.088 | 1.586 | 2.573 | $0.3mm land + 0.4% of CAPEX insurance
Microgrid O&M ($mm/yr) | 0.75 | 1.125 | 0.75 | $7.5/kW-yr x capacity
Operating life (years) | 25 | 25 | 30 | Framework 2.1: 25 yrs solar/wind, 30 yrs geothermal
Notes: (1) Model finds ITC > PTC for all three configurations at these parameters — for geothermal this contradicts Framework 2.3.5's
expectation; sensitive to the omitted PTC inflation adjustment and the 7% discount on the PTC stream. (2) Geothermal faces no near-term
OBBBA deadline (phaseout from 2034), so the 0% ITC scenario is a stress test rather than a live policy risk for that configuration.

## Capitalization
Capitalization — debt = MIN(DSCR-sized, max leverage x capital); tax equity sized to ITC/PTC + MACRS shield
| Solar Base | Solar Coloc | Wind Base | Wind Coloc | Geo Base | Geo Coloc
Total capital required ($mm) | 197 | 209 | 321.4 | 339.4 | 568.25 | 580.25
First grid-year net energy (MWh) | 230179.95 | 230179.95 | 430466.4 | 430466.4 | 730255.5 | 730255.5
First grid-year revenue ($mm) | 16.573 | 16.573 | 30.9936 | 30.9936 | 52.5784 | 52.5784
First grid-year OPEX ($mm) | 4.3366 | 5.0866 | 8.4259 | 9.5509 | 7.9867 | 8.7367
First grid-year EBITDA ($mm) | 12.2364 | 11.4864 | 22.5677 | 21.4427 | 44.5917 | 43.8417
Max debt service @ DSCR ($mm/yr) | 9.064 | 8.5084 | 16.7168 | 15.8835 | 33.0309 | 32.4753
DSCR-sized debt ($mm) | 108.3179 | 101.6788 | 199.7721 | 189.8135 | 394.7319 | 388.0928
Senior debt after leverage cap ($mm) | 108.3179 | 101.6788 | 176.77 | 186.67 | 312.5375 | 319.1375
Actual debt service ($mm/yr) | 9.064 | 8.5084 | 14.792 | 15.6204 | 26.1529 | 26.7052
ITC amount ($mm) | 54 | 54 | 88.875 | 88.875 | 159.375 | 159.375
PTC start year (calendar) | 7 | 3 | 7 | 3 | 7 | 3
PTC stream PV ($mm) | 0 | 0 | 0 | 0 | 0 | 0
Depreciable basis ($mm) | 153 | 153 | 251.8125 | 251.8125 | 451.5625 | 451.5625
MACRS shield PV ($mm) | 37.9645 | 37.9645 | 62.4832 | 62.4832 | 112.048 | 112.048
Tax equity contribution ($mm) | 73.5716 | 73.5716 | 121.0866 | 121.0866 | 217.1384 | 217.1384
Developer equity ($mm) | 15.1105 | 33.7496 | 23.5434 | 31.6434 | 38.5741 | 43.9741
PTC start assumption: baseline is not placed in service while idle (PTC begins at COD); co-location BTM operation is assumed
to qualify as placed in service (PTC begins at mechanical completion). Open tax question — validate in practitioner interviews.
MACRS 5-yr schedule (Framework 2.3.3)
Year 1 | 20%
Year 2 | 32%
Year 3 | 19.2%
Year 4 | 11.52%
Year 5 | 11.52%
Year 6 | 5.76%

## SolarBase
SolarBase — annual cash flow waterfall ($mm)
Developer levered IRR: | 4.071% | Unlevered (project) IRR: | 0.9124% | NPV of dev cash @ discount rate ($mm): | -15.3966
Year | Phase | Op yr | Net energy (MWh) | Revenue | OPEX | EBITDA | Debt service | Distributable cash | Dev share | Dev cash flow | DSCR | Project CF (unlevered)
0 | Equity |  | 0 | 0 | 0 | 0 | 0 | 0 |  | -15.1105 |  | -197
1 | Construction |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0
2 | Construction |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0
3 | Queue wait | 0 | 230179.95 | 0 | 1.088 | -1.088 | 9.064 | -10.152 | 70% | -7.1064 | -0.12004 | -1.088
4 | Queue wait | 1 | 229029.0503 | 0 | 1.088 | -1.088 | 9.064 | -10.152 | 70% | -7.1064 | -0.12004 | -1.088
5 | Queue wait | 2 | 227883.905 | 0 | 1.088 | -1.088 | 9.064 | -10.152 | 70% | -7.1064 | -0.12004 | -1.088
6 | Queue wait | 3 | 226744.4855 | 0 | 1.088 | -1.088 | 9.064 | -10.152 | 70% | -8.1064 | -0.12004 | -1.088
7 | Grid ops | 4 | 225610.763 | 16.244 | 4.3317 | 11.9123 | 9.064 | 2.8483 | 97.5% | 2.7771 | 1.3142 | 11.9123
8 | Grid ops | 5 | 224482.7092 | 16.1628 | 4.3304 | 11.8323 | 9.064 | 2.7683 | 97.5% | 2.6991 | 1.3054 | 11.8323
9 | Grid ops | 6 | 223360.2957 | 16.0819 | 4.3292 | 11.7527 | 9.064 | 2.6887 | 97.5% | 2.6215 | 1.2966 | 11.7527
10 | Grid ops | 7 | 222243.4942 | 16.0015 | 4.328 | 11.6735 | 9.064 | 2.6095 | 97.5% | 2.5443 | 1.2879 | 11.6735
11 | Grid ops | 8 | 221132.2767 | 15.9215 | 4.3268 | 11.5947 | 9.064 | 2.5307 | 97.5% | 2.4675 | 1.2792 | 11.5947
12 | Grid ops | 9 | 220026.6154 | 15.8419 | 4.3256 | 11.5163 | 9.064 | 2.4523 | 97.5% | 2.391 | 1.2706 | 11.5163
13 | Grid ops | 10 | 218926.4823 | 15.7627 | 4.3244 | 11.4383 | 9.064 | 2.3743 | 97.5% | 2.3149 | 1.2619 | 11.4383
14 | Grid ops | 11 | 217831.8499 | 15.6839 | 4.3233 | 11.3606 | 9.064 | 2.2967 | 97.5% | 2.2392 | 1.2534 | 11.3606
15 | Grid ops | 12 | 216742.6906 | 15.6055 | 4.3221 | 11.2834 | 9.064 | 2.2194 | 97.5% | 2.1639 | 1.2449 | 11.2834
16 | Grid ops | 13 | 215658.9772 | 15.5274 | 4.3209 | 11.2065 | 9.064 | 2.1426 | 97.5% | 2.089 | 1.2364 | 11.2065
17 | Grid ops | 14 | 214580.6823 | 15.4498 | 4.3197 | 11.1301 | 9.064 | 2.0661 | 97.5% | 2.0144 | 1.2279 | 11.1301
18 | Grid ops | 15 | 213507.7789 | 15.3726 | 4.3186 | 11.054 | 9.064 | 1.99 | 97.5% | 1.9402 | 1.2196 | 11.054
19 | Grid ops | 16 | 212440.24 | 15.2957 | 4.3174 | 10.9783 | 9.064 | 1.9143 | 97.5% | 1.8664 | 1.2112 | 10.9783
20 | Grid ops | 17 | 211378.0388 | 15.2192 | 4.3163 | 10.9029 | 9.064 | 1.839 | 97.5% | 1.793 | 1.2029 | 10.9029
21 | Grid ops | 18 | 210321.1486 | 15.1431 | 4.3151 | 10.828 | 9.064 | 1.764 | 97.5% | 1.7199 | 1.1946 | 10.828
22 | Grid ops | 19 | 209269.5428 | 15.0674 | 4.314 | 10.7534 | 9.064 | 1.6894 | 97.5% | 1.6472 | 1.1864 | 10.7534
23 | Grid ops | 20 | 208223.1951 | 14.9921 | 4.3129 | 10.6792 | 0 | 10.6792 | 97.5% | 10.4122 |  | 10.6792
24 | Grid ops | 21 | 207182.0791 | 14.9171 | 4.3118 | 10.6054 | 0 | 10.6054 | 97.5% | 10.3402 |  | 10.6054
25 | Grid ops | 22 | 206146.1687 | 14.8425 | 4.3106 | 10.5319 | 0 | 10.5319 | 97.5% | 10.2686 |  | 10.5319
26 | Grid ops | 23 | 205115.4379 | 14.7683 | 4.3095 | 10.4588 | 0 | 10.4588 | 97.5% | 10.1973 |  | 10.4588
27 | Grid ops | 24 | 204089.8607 | 14.6945 | 4.3084 | 10.3861 | 0 | 10.3861 | 97.5% | 10.1264 |  | 10.3861
28 | — | 25 | 0 | 0 | 0 | 0 | 0 | 0 | 97.5% | 0 |  | 0
29 | — | 26 | 0 | 0 | 0 | 0 | 0 | 0 | 97.5% | 0 |  | 0
30 | — | 27 | 0 | 0 | 0 | 0 | 0 | 0 | 97.5% | 0 |  | 0
31 | — | 28 | 0 | 0 | 0 | 0 | 0 | 0 | 97.5% | 0 |  | 0
32 | — | 29 | 0 | 0 | 0 | 0 | 0 | 0 | 97.5% | 0 |  | 0

## SolarColoc
SolarColoc — annual cash flow waterfall ($mm)
Developer levered IRR: | 4.407% | Unlevered (project) IRR: | 1.282% | NPV of dev cash @ discount rate ($mm): | -15.3972
Year | Phase | Op yr | Net energy (MWh) | Revenue | OPEX | EBITDA | Debt service | Distributable cash | Dev share | Dev cash flow | DSCR | Project CF (unlevered)
0 | Equity |  | 0 | 0 | 0 | 0 | 0 | 0 |  | -33.7496 |  | -209
1 | Construction |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0
2 | Construction |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0
3 | Queue wait | 0 | 230179.95 | 13.6727 | 5.0431 | 8.6296 | 8.5084 | 0.12118 | 70% | 0.084828 | 1.0142 | 8.6296
4 | Queue wait | 1 | 229029.0503 | 13.6043 | 5.0421 | 8.5623 | 8.5084 | 0.053844 | 70% | 0.037691 | 1.0063 | 8.5623
5 | Queue wait | 2 | 227883.905 | 13.5363 | 5.041 | 8.4953 | 8.5084 | -0.013157 | 70% | -0.0092099 | 0.99845 | 8.4953
6 | Queue wait | 3 | 226744.4855 | 13.4686 | 5.04 | 8.4286 | 8.5084 | -0.079823 | 70% | -1.0559 | 0.99062 | 8.4286
7 | Grid ops | 4 | 225610.763 | 16.244 | 5.0817 | 11.1623 | 8.5084 | 2.6539 | 97.5% | 2.5876 | 1.3119 | 11.1623
8 | Grid ops | 5 | 224482.7092 | 16.1628 | 5.0804 | 11.0823 | 8.5084 | 2.5739 | 97.5% | 2.5095 | 1.3025 | 11.0823
9 | Grid ops | 6 | 223360.2957 | 16.0819 | 5.0792 | 11.0027 | 8.5084 | 2.4943 | 97.5% | 2.4319 | 1.2932 | 11.0027
10 | Grid ops | 7 | 222243.4942 | 16.0015 | 5.078 | 10.9235 | 8.5084 | 2.4151 | 97.5% | 2.3547 | 1.2838 | 10.9235
11 | Grid ops | 8 | 221132.2767 | 15.9215 | 5.0768 | 10.8447 | 8.5084 | 2.3363 | 97.5% | 2.2779 | 1.2746 | 10.8447
12 | Grid ops | 9 | 220026.6154 | 15.8419 | 5.0756 | 10.7663 | 8.5084 | 2.2579 | 97.5% | 2.2014 | 1.2654 | 10.7663
13 | Grid ops | 10 | 218926.4823 | 15.7627 | 5.0744 | 10.6883 | 8.5084 | 2.1798 | 97.5% | 2.1254 | 1.2562 | 10.6883
14 | Grid ops | 11 | 217831.8499 | 15.6839 | 5.0733 | 10.6106 | 8.5084 | 2.1022 | 97.5% | 2.0497 | 1.2471 | 10.6106
15 | Grid ops | 12 | 216742.6906 | 15.6055 | 5.0721 | 10.5334 | 8.5084 | 2.025 | 97.5% | 1.9744 | 1.238 | 10.5334
16 | Grid ops | 13 | 215658.9772 | 15.5274 | 5.0709 | 10.4565 | 8.5084 | 1.9481 | 97.5% | 1.8994 | 1.229 | 10.4565
17 | Grid ops | 14 | 214580.6823 | 15.4498 | 5.0697 | 10.3801 | 8.5084 | 1.8716 | 97.5% | 1.8249 | 1.22 | 10.3801
18 | Grid ops | 15 | 213507.7789 | 15.3726 | 5.0686 | 10.304 | 8.5084 | 1.7956 | 97.5% | 1.7507 | 1.211 | 10.304
19 | Grid ops | 16 | 212440.24 | 15.2957 | 5.0674 | 10.2283 | 8.5084 | 1.7198 | 97.5% | 1.6768 | 1.2021 | 10.2283
20 | Grid ops | 17 | 211378.0388 | 15.2192 | 5.0663 | 10.1529 | 8.5084 | 1.6445 | 97.5% | 1.6034 | 1.1933 | 10.1529
21 | Grid ops | 18 | 210321.1486 | 15.1431 | 5.0651 | 10.078 | 8.5084 | 1.5696 | 97.5% | 1.5303 | 1.1845 | 10.078
22 | Grid ops | 19 | 209269.5428 | 15.0674 | 5.064 | 10.0034 | 8.5084 | 1.495 | 97.5% | 1.4576 | 1.1757 | 10.0034
23 | Grid ops | 20 | 208223.1951 | 14.9921 | 5.0629 | 9.9292 | 0 | 9.9292 | 97.5% | 9.681 |  | 9.9292
24 | Grid ops | 21 | 207182.0791 | 14.9171 | 5.0618 | 9.8554 | 0 | 9.8554 | 97.5% | 9.609 |  | 9.8554
25 | Grid ops | 22 | 206146.1687 | 14.8425 | 5.0606 | 9.7819 | 0 | 9.7819 | 97.5% | 9.5373 |  | 9.7819
26 | Grid ops | 23 | 205115.4379 | 14.7683 | 5.0595 | 9.7088 | 0 | 9.7088 | 97.5% | 9.4661 |  | 9.7088
27 | Grid ops | 24 | 204089.8607 | 14.6945 | 5.0584 | 9.6361 | 0 | 9.6361 | 97.5% | 9.3952 |  | 9.6361
28 | — | 25 | 0 | 0 | 0 | 0 | 0 | 0 | 97.5% | 0 |  | 0
29 | — | 26 | 0 | 0 | 0 | 0 | 0 | 0 | 97.5% | 0 |  | 0
30 | — | 27 | 0 | 0 | 0 | 0 | 0 | 0 | 97.5% | 0 |  | 0
31 | — | 28 | 0 | 0 | 0 | 0 | 0 | 0 | 97.5% | 0 |  | 0
32 | — | 29 | 0 | 0 | 0 | 0 | 0 | 0 | 97.5% | 0 |  | 0

## WindBase
WindBase — annual cash flow waterfall ($mm)
Developer levered IRR: | 7.647% | Unlevered (project) IRR: | 2.031% | NPV of dev cash @ discount rate ($mm): | -2.4701
Year | Phase | Op yr | Net energy (MWh) | Revenue | OPEX | EBITDA | Debt service | Distributable cash | Dev share | Dev cash flow | DSCR | Project CF (unlevered)
0 | Equity |  | 0 | 0 | 0 | 0 | 0 | 0 |  | -23.5434 |  | -321.4
1 | Construction |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0
2 | Construction |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0
3 | Queue wait | 0 | 430466.4 | 0 | 1.586 | -1.586 | 14.792 | -16.378 | 70% | -11.4646 | -0.10722 | -1.586
4 | Queue wait | 1 | 429605.4672 | 0 | 1.586 | -1.586 | 14.792 | -16.378 | 70% | -11.4646 | -0.10722 | -1.586
5 | Queue wait | 2 | 428746.2563 | 0 | 1.586 | -1.586 | 14.792 | -16.378 | 70% | -11.4646 | -0.10722 | -1.586
6 | Queue wait | 3 | 427888.7638 | 0 | 1.586 | -1.586 | 14.792 | -16.378 | 70% | -12.4646 | -0.10722 | -1.586
7 | Grid ops | 4 | 427032.9862 | 30.7464 | 8.4222 | 22.3242 | 14.792 | 7.5322 | 97.5% | 7.3439 | 1.5092 | 22.3242
8 | Grid ops | 5 | 426178.9203 | 30.6849 | 8.4213 | 22.2636 | 14.792 | 7.4716 | 97.5% | 7.2848 | 1.5051 | 22.2636
9 | Grid ops | 6 | 425326.5624 | 30.6235 | 8.4204 | 22.2032 | 14.792 | 7.4112 | 97.5% | 7.2259 | 1.501 | 22.2032
10 | Grid ops | 7 | 424475.9093 | 30.5623 | 8.4194 | 22.1428 | 14.792 | 7.3508 | 97.5% | 7.1671 | 1.4969 | 22.1428
11 | Grid ops | 8 | 423626.9575 | 30.5011 | 8.4185 | 22.0826 | 14.792 | 7.2906 | 97.5% | 7.1084 | 1.4929 | 22.0826
12 | Grid ops | 9 | 422779.7036 | 30.4401 | 8.4176 | 22.0225 | 14.792 | 7.2305 | 97.5% | 7.0498 | 1.4888 | 22.0225
13 | Grid ops | 10 | 421934.1441 | 30.3793 | 8.4167 | 21.9626 | 14.792 | 7.1706 | 97.5% | 6.9913 | 1.4848 | 21.9626
14 | Grid ops | 11 | 421090.2759 | 30.3185 | 8.4158 | 21.9027 | 14.792 | 7.1107 | 97.5% | 6.933 | 1.4807 | 21.9027
15 | Grid ops | 12 | 420248.0953 | 30.2579 | 8.4149 | 21.843 | 14.792 | 7.051 | 97.5% | 6.8747 | 1.4767 | 21.843
16 | Grid ops | 13 | 419407.5991 | 30.1973 | 8.414 | 21.7834 | 14.792 | 6.9914 | 97.5% | 6.8166 | 1.4726 | 21.7834
17 | Grid ops | 14 | 418568.7839 | 30.137 | 8.4131 | 21.7239 | 14.792 | 6.9319 | 97.5% | 6.7586 | 1.4686 | 21.7239
18 | Grid ops | 15 | 417731.6464 | 30.0767 | 8.4122 | 21.6645 | 14.792 | 6.8725 | 97.5% | 6.7007 | 1.4646 | 21.6645
19 | Grid ops | 16 | 416896.1831 | 30.0165 | 8.4112 | 21.6053 | 14.792 | 6.8133 | 97.5% | 6.643 | 1.4606 | 21.6053
20 | Grid ops | 17 | 416062.3907 | 29.9565 | 8.4103 | 21.5461 | 14.792 | 6.7541 | 97.5% | 6.5853 | 1.4566 | 21.5461
21 | Grid ops | 18 | 415230.2659 | 29.8966 | 8.4094 | 21.4871 | 14.792 | 6.6951 | 97.5% | 6.5278 | 1.4526 | 21.4871
22 | Grid ops | 19 | 414399.8054 | 29.8368 | 8.4086 | 21.4282 | 14.792 | 6.6362 | 97.5% | 6.4703 | 1.4486 | 21.4282
23 | Grid ops | 20 | 413571.0058 | 29.7771 | 8.4077 | 21.3695 | 0 | 21.3695 | 97.5% | 20.8352 |  | 21.3695
24 | Grid ops | 21 | 412743.8638 | 29.7176 | 8.4068 | 21.3108 | 0 | 21.3108 | 97.5% | 20.778 |  | 21.3108
25 | Grid ops | 22 | 411918.376 | 29.6581 | 8.4059 | 21.2523 | 0 | 21.2523 | 97.5% | 20.7209 |  | 21.2523
26 | Grid ops | 23 | 411094.5393 | 29.5988 | 8.405 | 21.1938 | 0 | 21.1938 | 97.5% | 20.664 |  | 21.1938
27 | Grid ops | 24 | 410272.3502 | 29.5396 | 8.4041 | 21.1355 | 0 | 21.1355 | 97.5% | 20.6071 |  | 21.1355
28 | — | 25 | 0 | 0 | 0 | 0 | 0 | 0 | 97.5% | 0 |  | 0
29 | — | 26 | 0 | 0 | 0 | 0 | 0 | 0 | 97.5% | 0 |  | 0
30 | — | 27 | 0 | 0 | 0 | 0 | 0 | 0 | 97.5% | 0 |  | 0
31 | — | 28 | 0 | 0 | 0 | 0 | 0 | 0 | 97.5% | 0 |  | 0
32 | — | 29 | 0 | 0 | 0 | 0 | 0 | 0 | 97.5% | 0 |  | 0

## WindColoc
WindColoc — annual cash flow waterfall ($mm)
Developer levered IRR: | 10.06% | Unlevered (project) IRR: | 2.633% | NPV of dev cash @ discount rate ($mm): | 11.369
Year | Phase | Op yr | Net energy (MWh) | Revenue | OPEX | EBITDA | Debt service | Distributable cash | Dev share | Dev cash flow | DSCR | Project CF (unlevered)
0 | Equity |  | 0 | 0 | 0 | 0 | 0 | 0 |  | -31.6434 |  | -339.4
1 | Construction |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0
2 | Construction |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0
3 | Queue wait | 0 | 430466.4 | 25.5697 | 9.4695 | 16.1002 | 15.6204 | 0.47974 | 70% | 0.33582 | 1.0307 | 16.1002
4 | Queue wait | 1 | 429605.4672 | 25.5186 | 9.4688 | 16.0498 | 15.6204 | 0.42937 | 70% | 0.30056 | 1.0275 | 16.0498
5 | Queue wait | 2 | 428746.2563 | 25.4675 | 9.468 | 15.9995 | 15.6204 | 0.37909 | 70% | 0.26537 | 1.0243 | 15.9995
6 | Queue wait | 3 | 427888.7638 | 25.4166 | 9.4672 | 15.9493 | 15.6204 | 0.32892 | 70% | -0.76975 | 1.0211 | 15.9493
7 | Grid ops | 4 | 427032.9862 | 30.7464 | 9.5472 | 21.1992 | 15.6204 | 5.5788 | 97.5% | 5.4393 | 1.3571 | 21.1992
8 | Grid ops | 5 | 426178.9203 | 30.6849 | 9.5463 | 21.1386 | 15.6204 | 5.5182 | 97.5% | 5.3802 | 1.3533 | 21.1386
9 | Grid ops | 6 | 425326.5624 | 30.6235 | 9.5454 | 21.0782 | 15.6204 | 5.4577 | 97.5% | 5.3213 | 1.3494 | 21.0782
10 | Grid ops | 7 | 424475.9093 | 30.5623 | 9.5444 | 21.0178 | 15.6204 | 5.3974 | 97.5% | 5.2625 | 1.3455 | 21.0178
11 | Grid ops | 8 | 423626.9575 | 30.5011 | 9.5435 | 20.9576 | 15.6204 | 5.3372 | 97.5% | 5.2038 | 1.3417 | 20.9576
12 | Grid ops | 9 | 422779.7036 | 30.4401 | 9.5426 | 20.8975 | 15.6204 | 5.2771 | 97.5% | 5.1452 | 1.3378 | 20.8975
13 | Grid ops | 10 | 421934.1441 | 30.3793 | 9.5417 | 20.8376 | 15.6204 | 5.2171 | 97.5% | 5.0867 | 1.334 | 20.8376
14 | Grid ops | 11 | 421090.2759 | 30.3185 | 9.5408 | 20.7777 | 15.6204 | 5.1573 | 97.5% | 5.0284 | 1.3302 | 20.7777
15 | Grid ops | 12 | 420248.0953 | 30.2579 | 9.5399 | 20.718 | 15.6204 | 5.0976 | 97.5% | 4.9701 | 1.3263 | 20.718
16 | Grid ops | 13 | 419407.5991 | 30.1973 | 9.539 | 20.6584 | 15.6204 | 5.038 | 97.5% | 4.912 | 1.3225 | 20.6584
17 | Grid ops | 14 | 418568.7839 | 30.137 | 9.5381 | 20.5989 | 15.6204 | 4.9785 | 97.5% | 4.854 | 1.3187 | 20.5989
18 | Grid ops | 15 | 417731.6464 | 30.0767 | 9.5372 | 20.5395 | 15.6204 | 4.9191 | 97.5% | 4.7961 | 1.3149 | 20.5395
19 | Grid ops | 16 | 416896.1831 | 30.0165 | 9.5362 | 20.4803 | 15.6204 | 4.8599 | 97.5% | 4.7384 | 1.3111 | 20.4803
20 | Grid ops | 17 | 416062.3907 | 29.9565 | 9.5353 | 20.4211 | 15.6204 | 4.8007 | 97.5% | 4.6807 | 1.3073 | 20.4211
21 | Grid ops | 18 | 415230.2659 | 29.8966 | 9.5344 | 20.3621 | 15.6204 | 4.7417 | 97.5% | 4.6232 | 1.3036 | 20.3621
22 | Grid ops | 19 | 414399.8054 | 29.8368 | 9.5336 | 20.3032 | 15.6204 | 4.6828 | 97.5% | 4.5657 | 1.2998 | 20.3032
23 | Grid ops | 20 | 413571.0058 | 29.7771 | 9.5327 | 20.2445 | 0 | 20.2445 | 97.5% | 19.7383 |  | 20.2445
24 | Grid ops | 21 | 412743.8638 | 29.7176 | 9.5318 | 20.1858 | 0 | 20.1858 | 97.5% | 19.6811 |  | 20.1858
25 | Grid ops | 22 | 411918.376 | 29.6581 | 9.5309 | 20.1273 | 0 | 20.1273 | 97.5% | 19.6241 |  | 20.1273
26 | Grid ops | 23 | 411094.5393 | 29.5988 | 9.53 | 20.0688 | 0 | 20.0688 | 97.5% | 19.5671 |  | 20.0688
27 | Grid ops | 24 | 410272.3502 | 29.5396 | 9.5291 | 20.0105 | 0 | 20.0105 | 97.5% | 19.5103 |  | 20.0105
28 | — | 25 | 0 | 0 | 0 | 0 | 0 | 0 | 97.5% | 0 |  | 0
29 | — | 26 | 0 | 0 | 0 | 0 | 0 | 0 | 97.5% | 0 |  | 0
30 | — | 27 | 0 | 0 | 0 | 0 | 0 | 0 | 97.5% | 0 |  | 0
31 | — | 28 | 0 | 0 | 0 | 0 | 0 | 0 | 97.5% | 0 |  | 0
32 | — | 29 | 0 | 0 | 0 | 0 | 0 | 0 | 97.5% | 0 |  | 0

## GeoBase
GeoBase — annual cash flow waterfall ($mm)
Developer levered IRR: | 11.61% | Unlevered (project) IRR: | 3.856% | NPV of dev cash @ discount rate ($mm): | 57.6358
Year | Phase | Op yr | Net energy (MWh) | Revenue | OPEX | EBITDA | Debt service | Distributable cash | Dev share | Dev cash flow | DSCR | Project CF (unlevered)
0 | Equity |  | 0 | 0 | 0 | 0 | 0 | 0 |  | -38.5741 |  | -568.25
1 | Construction |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0
2 | Construction |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0
3 | Queue wait | 0 | 730255.5 | 0 | 2.573 | -2.573 | 26.1529 | -28.7259 | 70% | -20.1082 | -0.098383 | -2.573
4 | Queue wait | 1 | 730255.5 | 0 | 2.573 | -2.573 | 26.1529 | -28.7259 | 70% | -20.1082 | -0.098383 | -2.573
5 | Queue wait | 2 | 730255.5 | 0 | 2.573 | -2.573 | 26.1529 | -28.7259 | 70% | -20.1082 | -0.098383 | -2.573
6 | Queue wait | 3 | 730255.5 | 0 | 2.573 | -2.573 | 26.1529 | -28.7259 | 70% | -21.1082 | -0.098383 | -2.573
7 | Grid ops | 4 | 730255.5 | 52.5784 | 7.9867 | 44.5917 | 26.1529 | 18.4388 | 97.5% | 17.9778 | 1.705 | 44.5917
8 | Grid ops | 5 | 730255.5 | 52.5784 | 7.9867 | 44.5917 | 26.1529 | 18.4388 | 97.5% | 17.9778 | 1.705 | 44.5917
9 | Grid ops | 6 | 730255.5 | 52.5784 | 7.9867 | 44.5917 | 26.1529 | 18.4388 | 97.5% | 17.9778 | 1.705 | 44.5917
10 | Grid ops | 7 | 730255.5 | 52.5784 | 7.9867 | 44.5917 | 26.1529 | 18.4388 | 97.5% | 17.9778 | 1.705 | 44.5917
11 | Grid ops | 8 | 730255.5 | 52.5784 | 7.9867 | 44.5917 | 26.1529 | 18.4388 | 97.5% | 17.9778 | 1.705 | 44.5917
12 | Grid ops | 9 | 730255.5 | 52.5784 | 7.9867 | 44.5917 | 26.1529 | 18.4388 | 97.5% | 17.9778 | 1.705 | 44.5917
13 | Grid ops | 10 | 730255.5 | 52.5784 | 7.9867 | 44.5917 | 26.1529 | 18.4388 | 97.5% | 17.9778 | 1.705 | 44.5917
14 | Grid ops | 11 | 730255.5 | 52.5784 | 7.9867 | 44.5917 | 26.1529 | 18.4388 | 97.5% | 17.9778 | 1.705 | 44.5917
15 | Grid ops | 12 | 730255.5 | 52.5784 | 7.9867 | 44.5917 | 26.1529 | 18.4388 | 97.5% | 17.9778 | 1.705 | 44.5917
16 | Grid ops | 13 | 730255.5 | 52.5784 | 7.9867 | 44.5917 | 26.1529 | 18.4388 | 97.5% | 17.9778 | 1.705 | 44.5917
17 | Grid ops | 14 | 730255.5 | 52.5784 | 7.9867 | 44.5917 | 26.1529 | 18.4388 | 97.5% | 17.9778 | 1.705 | 44.5917
18 | Grid ops | 15 | 730255.5 | 52.5784 | 7.9867 | 44.5917 | 26.1529 | 18.4388 | 97.5% | 17.9778 | 1.705 | 44.5917
19 | Grid ops | 16 | 730255.5 | 52.5784 | 7.9867 | 44.5917 | 26.1529 | 18.4388 | 97.5% | 17.9778 | 1.705 | 44.5917
20 | Grid ops | 17 | 730255.5 | 52.5784 | 7.9867 | 44.5917 | 26.1529 | 18.4388 | 97.5% | 17.9778 | 1.705 | 44.5917
21 | Grid ops | 18 | 730255.5 | 52.5784 | 7.9867 | 44.5917 | 26.1529 | 18.4388 | 97.5% | 17.9778 | 1.705 | 44.5917
22 | Grid ops | 19 | 730255.5 | 52.5784 | 7.9867 | 44.5917 | 26.1529 | 18.4388 | 97.5% | 17.9778 | 1.705 | 44.5917
23 | Grid ops | 20 | 730255.5 | 52.5784 | 7.9867 | 44.5917 | 0 | 44.5917 | 97.5% | 43.4769 |  | 44.5917
24 | Grid ops | 21 | 730255.5 | 52.5784 | 7.9867 | 44.5917 | 0 | 44.5917 | 97.5% | 43.4769 |  | 44.5917
25 | Grid ops | 22 | 730255.5 | 52.5784 | 7.9867 | 44.5917 | 0 | 44.5917 | 97.5% | 43.4769 |  | 44.5917
26 | Grid ops | 23 | 730255.5 | 52.5784 | 7.9867 | 44.5917 | 0 | 44.5917 | 97.5% | 43.4769 |  | 44.5917
27 | Grid ops | 24 | 730255.5 | 52.5784 | 7.9867 | 44.5917 | 0 | 44.5917 | 97.5% | 43.4769 |  | 44.5917
28 | Grid ops | 25 | 730255.5 | 52.5784 | 7.9867 | 44.5917 | 0 | 44.5917 | 97.5% | 43.4769 |  | 44.5917
29 | Grid ops | 26 | 730255.5 | 52.5784 | 7.9867 | 44.5917 | 0 | 44.5917 | 97.5% | 43.4769 |  | 44.5917
30 | Grid ops | 27 | 730255.5 | 52.5784 | 7.9867 | 44.5917 | 0 | 44.5917 | 97.5% | 43.4769 |  | 44.5917
31 | Grid ops | 28 | 730255.5 | 52.5784 | 7.9867 | 44.5917 | 0 | 44.5917 | 97.5% | 43.4769 |  | 44.5917
32 | Grid ops | 29 | 730255.5 | 52.5784 | 7.9867 | 44.5917 | 0 | 44.5917 | 97.5% | 43.4769 |  | 44.5917

## GeoColoc
GeoColoc — annual cash flow waterfall ($mm)
Developer levered IRR: | 18.82% | Unlevered (project) IRR: | 5.024% | NPV of dev cash @ discount rate ($mm): | 117.3979
Year | Phase | Op yr | Net energy (MWh) | Revenue | OPEX | EBITDA | Debt service | Distributable cash | Dev share | Dev cash flow | DSCR | Project CF (unlevered)
0 | Equity |  | 0 | 0 | 0 | 0 | 0 | 0 |  | -43.9741 |  | -580.25
1 | Construction |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0
2 | Construction |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0
3 | Queue wait | 0 | 730255.5 | 43.3772 | 8.5987 | 34.7785 | 26.7052 | 8.0733 | 70% | 5.6513 | 1.3023 | 34.7785
4 | Queue wait | 1 | 730255.5 | 43.3772 | 8.5987 | 34.7785 | 26.7052 | 8.0733 | 70% | 5.6513 | 1.3023 | 34.7785
5 | Queue wait | 2 | 730255.5 | 43.3772 | 8.5987 | 34.7785 | 26.7052 | 8.0733 | 70% | 5.6513 | 1.3023 | 34.7785
6 | Queue wait | 3 | 730255.5 | 43.3772 | 8.5987 | 34.7785 | 26.7052 | 8.0733 | 70% | 4.6513 | 1.3023 | 34.7785
7 | Grid ops | 4 | 730255.5 | 52.5784 | 8.7367 | 43.8417 | 26.7052 | 17.1365 | 97.5% | 16.7081 | 1.6417 | 43.8417
8 | Grid ops | 5 | 730255.5 | 52.5784 | 8.7367 | 43.8417 | 26.7052 | 17.1365 | 97.5% | 16.7081 | 1.6417 | 43.8417
9 | Grid ops | 6 | 730255.5 | 52.5784 | 8.7367 | 43.8417 | 26.7052 | 17.1365 | 97.5% | 16.7081 | 1.6417 | 43.8417
10 | Grid ops | 7 | 730255.5 | 52.5784 | 8.7367 | 43.8417 | 26.7052 | 17.1365 | 97.5% | 16.7081 | 1.6417 | 43.8417
11 | Grid ops | 8 | 730255.5 | 52.5784 | 8.7367 | 43.8417 | 26.7052 | 17.1365 | 97.5% | 16.7081 | 1.6417 | 43.8417
12 | Grid ops | 9 | 730255.5 | 52.5784 | 8.7367 | 43.8417 | 26.7052 | 17.1365 | 97.5% | 16.7081 | 1.6417 | 43.8417
13 | Grid ops | 10 | 730255.5 | 52.5784 | 8.7367 | 43.8417 | 26.7052 | 17.1365 | 97.5% | 16.7081 | 1.6417 | 43.8417
14 | Grid ops | 11 | 730255.5 | 52.5784 | 8.7367 | 43.8417 | 26.7052 | 17.1365 | 97.5% | 16.7081 | 1.6417 | 43.8417
15 | Grid ops | 12 | 730255.5 | 52.5784 | 8.7367 | 43.8417 | 26.7052 | 17.1365 | 97.5% | 16.7081 | 1.6417 | 43.8417
16 | Grid ops | 13 | 730255.5 | 52.5784 | 8.7367 | 43.8417 | 26.7052 | 17.1365 | 97.5% | 16.7081 | 1.6417 | 43.8417
17 | Grid ops | 14 | 730255.5 | 52.5784 | 8.7367 | 43.8417 | 26.7052 | 17.1365 | 97.5% | 16.7081 | 1.6417 | 43.8417
18 | Grid ops | 15 | 730255.5 | 52.5784 | 8.7367 | 43.8417 | 26.7052 | 17.1365 | 97.5% | 16.7081 | 1.6417 | 43.8417
19 | Grid ops | 16 | 730255.5 | 52.5784 | 8.7367 | 43.8417 | 26.7052 | 17.1365 | 97.5% | 16.7081 | 1.6417 | 43.8417
20 | Grid ops | 17 | 730255.5 | 52.5784 | 8.7367 | 43.8417 | 26.7052 | 17.1365 | 97.5% | 16.7081 | 1.6417 | 43.8417
21 | Grid ops | 18 | 730255.5 | 52.5784 | 8.7367 | 43.8417 | 26.7052 | 17.1365 | 97.5% | 16.7081 | 1.6417 | 43.8417
22 | Grid ops | 19 | 730255.5 | 52.5784 | 8.7367 | 43.8417 | 26.7052 | 17.1365 | 97.5% | 16.7081 | 1.6417 | 43.8417
23 | Grid ops | 20 | 730255.5 | 52.5784 | 8.7367 | 43.8417 | 0 | 43.8417 | 97.5% | 42.7457 |  | 43.8417
24 | Grid ops | 21 | 730255.5 | 52.5784 | 8.7367 | 43.8417 | 0 | 43.8417 | 97.5% | 42.7457 |  | 43.8417
25 | Grid ops | 22 | 730255.5 | 52.5784 | 8.7367 | 43.8417 | 0 | 43.8417 | 97.5% | 42.7457 |  | 43.8417
26 | Grid ops | 23 | 730255.5 | 52.5784 | 8.7367 | 43.8417 | 0 | 43.8417 | 97.5% | 42.7457 |  | 43.8417
27 | Grid ops | 24 | 730255.5 | 52.5784 | 8.7367 | 43.8417 | 0 | 43.8417 | 97.5% | 42.7457 |  | 43.8417
28 | Grid ops | 25 | 730255.5 | 52.5784 | 8.7367 | 43.8417 | 0 | 43.8417 | 97.5% | 42.7457 |  | 43.8417
29 | Grid ops | 26 | 730255.5 | 52.5784 | 8.7367 | 43.8417 | 0 | 43.8417 | 97.5% | 42.7457 |  | 43.8417
30 | Grid ops | 27 | 730255.5 | 52.5784 | 8.7367 | 43.8417 | 0 | 43.8417 | 97.5% | 42.7457 |  | 43.8417
31 | Grid ops | 28 | 730255.5 | 52.5784 | 8.7367 | 43.8417 | 0 | 43.8417 | 97.5% | 42.7457 |  | 43.8417
32 | Grid ops | 29 | 730255.5 | 52.5784 | 8.7367 | 43.8417 | 0 | 43.8417 | 97.5% | 42.7457 |  | 43.8417

## Results
Results — all three configurations side by side (live; global levers on Inputs)
| Solar+BESS 100MW | Wind+BESS 150MW | Geothermal+BESS 100MW
Baseline developer levered IRR | 4.071% | 7.647% | 11.61%
Co-location developer levered IRR | 4.407% | 10.06% | 18.82%
Delta IRR (co-location - baseline), pp | 0.33569 | 2.4128 | 7.2111
Baseline unlevered (project) IRR | 0.9124% | 2.031% | 3.856%
Co-location unlevered (project) IRR | 1.282% | 2.633% | 5.024%
Baseline NPV of dev cash ($mm) | -15.3966 | -2.4701 | 57.6358
Co-location NPV of dev cash ($mm) | -15.3972 | 11.369 | 117.3979
VALUE BRIDGE — dollar impact of co-location over the queue-wait window (live)
Queue-wait revenue uplift, total ($mm) | 54.2819 | 101.9724 | 173.5087
Queue-wait revenue uplift, per year ($mm/yr) | 13.5705 | 25.4931 | 43.3772
Queue-wait EBITDA uplift, total ($mm) | 38.4677 | 70.4428 | 149.4061
Queue-wait developer cash uplift, total ($mm) | 28.483 | 46.9904 | 103.0379
vs. Microgrid CAPEX ($mm) | 12 | 18 | 12
vs. Incremental developer equity ($mm) | 18.6391 | 8.1 | 5.4
Delta NPV of developer cash ($mm) | -0.00066991 | 13.8391 | 59.762
Reading: revenue uplift = what the queue-wait window earns instead of $0; EBITDA uplift nets out the full O&M an operating plant
incurs; developer cash uplift applies the pre-flip 70% share (debt service is identical, so it cancels). Delta NPV is the single-number summary.
Scenario sweep — Solar+BESS 100MW (ITC pathway, flip yr 6; reproduce via Inputs levers)
ITC | Queue (yrs) | Baseline IRR | Co-location IRR | Delta (pp)
30% | 2 | 6.98% | 4.93% | -2.05
30% | 4 | 4.07% | 4.41% | 0.34
30% | 6 | 1.4% | 3.77% | 2.38
30% | 8 | -0.61% | 3.21% | 3.82
0% | 2 | -0.84% | -1.14% | -0.31
0% | 4 | -2.01% | -1.41% | 0.6
0% | 6 | -3.05% | -1.67% | 1.38
0% | 8 | -4.05% | -1.93% | 2.11
Scenario sweep — Wind+BESS 150MW (ITC pathway, flip yr 6; reproduce via Inputs levers)
ITC | Queue (yrs) | Baseline IRR | Co-location IRR | Delta (pp)
30% | 2 | 11.33% | 11.07% | -0.26
30% | 4 | 7.65% | 10.06% | 2.41
30% | 6 | 4.43% | 8.98% | 4.55
30% | 8 | 2.1% | 8.11% | 6.01
0% | 2 | 1.49% | 1.16% | -0.33
0% | 4 | 0.15% | 0.82% | 0.68
0% | 6 | -1.02% | 0.5% | 1.52
0% | 8 | -2.09% | 0.19% | 2.28
Scenario sweep — Geothermal+BESS 100MW (ITC pathway, flip yr 6; reproduce via Inputs levers)
ITC | Queue (yrs) | Baseline IRR | Co-location IRR | Delta (pp)
30% | 2 | 15.72% | 20.06% | 4.35
30% | 4 | 11.61% | 18.82% | 7.21
30% | 6 | 8.32% | 17.64% | 9.32
30% | 8 | 6.12% | 16.79% | 10.67
0% | 2 | 4.69% | 5.57% | 0.87
0% | 4 | 3.42% | 5.26% | 1.84
0% | 6 | 2.38% | 5% | 2.61
0% | 8 | 1.49% | 4.76% | 3.27
Takeaways: Q* ~3.5 yrs (solar), ~2.2 yrs (wind), <2 yrs (geothermal, 30% ITC). Delta IRR rises with capacity factor — geothermal shows the
LARGEST improvement (+4.4 to +10.7pp), contradicting H1's expectation of the smallest: the delta is driven by energy monetized per queue
year, not by baseline IRR level. ITC beats PTC for all three configs at these parameters (PTC inflation adjustment omitted — caveat).